## Sheet1
Customer | Contract | Item Code | Item Name | UoM | Rate | Item Description | Xero Account
Downer | Downer - TFO (Wideband) | A11306 | Setup, fibre commissioning acceptance testing and integration optical fibre - 1st fibre | Per first fibre | 286.8 | Setup, fibre commissioning acceptance testing and integration optical fibre - 1st fibre | 45100
Downer | Downer - TFO (Wideband) | A12297 | WT-5a Install of a Wideband Wavelength Service | per service | 479.14 | WT-5a Install of a Wideband Wavelength Service | 45100
Downer | Downer - TFO (Wideband) | A8080 | Fibre commissioning acceptance testing and integration optical fibre - Second & Subsequent Fibre | per subsequent fibre | 21.26 | Fibre commissioning acceptance testing and integration optical fibre - Second & Subsequent Fibre | 45100
Downer | Downer - TFO (Wideband) | D13454 | WD-12 Wideband site visit per customer end | Cost per customer end | 355.1 | WD-12 Wideband site visit per customer end | 45100
Downer | Downer - TFO (Wideband) | R10754 | WT-9i Recover Alarm Power and Distribution Panel - All types | per panel | 120.95 | WT-9i Recover Alarm Power and Distribution Panel - All types | 45100
Downer | Downer - TFO (Wideband) | R11310 | Remove Second and subsequent Pigtail/corded fibre/patch lead extra over to OO-6f1 | Per fibre | 15.55 | Remove Second and subsequent Pigtail/corded fibre/patch lead extra over to OO-6f1 | 45100
Downer | Downer - TFO (Wideband) | R11312 | Remove Single Pigtail/corded fibre/patch lead at any Single locations | Per fibre | 44.52 | Remove Single Pigtail/corded fibre/patch lead at any Single locations | 45100
Downer | Downer - TFO (Wideband) | R11597 | WT-9e Decommission Wideband Service including Transmission Line System Recovery | Per sub rack | 295.36 | WT-9e Decommission Wideband Service including Transmission Line System Recovery | 45100
Downer | Downer - TFO (Wideband) | R11598 | WT-9f Decommission Wideband Service including Transmission Line System and Customer Rack Recovery | Per subrack | 454.16 | WT-9f Decommission Wideband Service including Transmission Line System and Customer Rack Recovery | 45100
Downer | Downer - TFO (Wideband) | R11848 | Cable (or Lead-in) Installation/Removal in Buildings - Recover Cable (Buildings) - Haul out/dismantle and dispose of all cable (copper/optic fibre) deemed faulty or redundant as per TOW. E.g. ceiling, floor space and riser shafts | Metre | 4.12 | Cable (or Lead-in) Installation/Removal in Buildings - Recover Cable (Buildings) - Haul out/dismantle and dispose of all cable (copper/optic fibre) deemed faulty or redundant as per TOW. E.g. ceiling, floor space and riser shafts | 45100
Downer | Downer - TFO (Wideband) | R12942 | WT-9a Decommission a Wideband 2Mbit service via Exchange Only Recovery | Cost per service | 145.44 | WT-9a Decommission a Wideband 2Mbit service via Exchange Only Recovery | 45100
Downer | Downer - TFO (Wideband) | R13460 | Cable Installation /Removal - Recover Cable from External Plant Network - Recover Optical Fibre | Metre | 1 | Cable Installation /Removal - Recover Cable from External Plant Network - Recover Optical Fibre | 45100
Downer | Downer - TFO (Wideband) | R13461 | WT-9b Decommission a Wideband Fibre Based Service via Exchange Only Recovery | Cost per service | 160.27 | WT-9b Decommission a Wideband Fibre Based Service via Exchange Only Recovery | 45100
Downer | Downer - TFO (Wideband) | R13462 | WT-9c Decommission Ethernet Service and Device via Remote Port Shutdown and Exchange only Recovery | Cost per service | 145.72 | WT-9c Decommission Ethernet Service and Device via Remote Port Shutdown and Exchange only Recovery | 45100
Downer | Downer - TFO (Wideband) | R13463 | WT-9d Decommission Ethernet Service and Device requiring both Customer and Exchange Recovery | Cost per service | 427.31 | WT-9d Decommission Ethernet Service and Device requiring both Customer and Exchange Recovery | 45100
Downer | Downer - TFO (Wideband) | R5197 | Cable Installation/Removal in Tunnels (Applicable to Sydney and Melbourne Areas Only). - Recover Cable - Optical Fibre | Metre | 2.33 | Cable Installation/Removal in Tunnels (Applicable to Sydney and Melbourne Areas Only). - Recover Cable - Optical Fibre | 45100
Downer | Downer - TFO (Wideband) | R7792 | Link - Deletion (Electrical cross connects at intermediate sites only) | Per Site | 111.85 | Link - Deletion (Electrical cross connects at intermediate sites only) | 45100
Downer | Downer - TFO (Wideband) | R9558 | WT-9h Recover Type 92 Rack | per rack | 162.52 | WT-9h Recover Type 92 Rack | 45100
Downer | Downer - TFO (Wideband) | W10378 | Install splice-patch module into hi-density optic fibre distribution frame (DE) | per module | 902.86 | Install splice-patch module into hi-density optic fibre distribution frame (DE) | 45100
Downer | Downer - TFO (Wideband) | W1124 | Pipe & Conduit Installation (Open trenching only Urban and Rural in Rock) - Supply and Install Supply and install 1 x up to 100mm dia conduit, in Rock | Linear Metre | 85.25 | Pipe & Conduit Installation (Open trenching only Urban and Rural in Rock) - Supply and Install Supply and install 1 x up to 100mm dia conduit, in Rock | 45100
Downer | Downer - TFO (Wideband) | W11303 | Clean out of Existing Pits (EXCEPTIONAL CIRCUMSTANCES). - Pits with one/two/three covers | Each | 24.3 | Clean out of Existing Pits (EXCEPTIONAL CIRCUMSTANCES). - Pits with one/two/three covers | 45100
Downer | Downer - TFO (Wideband) | W11307 | Trenchless Techniques Establishment Fee | Flat Fee | 190.52 | Trenchless Techniques Establishment Fee | 45100
Downer | Downer - TFO (Wideband) | W11309 | Grundomat Establishment Fee | Flat Fee | 97.52 | Grundomat Establishment Fee | 45100
Downer | Downer - TFO (Wideband) | W11321 | Install additional optic fibre cable into existing joint up to 12 Fibre | Per cable | 75.99 | Install additional optic fibre cable into existing joint up to 12 Fibre | 45100
Downer | Downer - TFO (Wideband) | W11324 | Splicing fibre to fibre - First splice | Per fibre | 14.23 | Splicing fibre to fibre - First splice | 45100
Downer | Downer - TFO (Wideband) | W11340 | Install Optical Fibre Rack - HDODF Rack | Each | 419.8 | Install Optical Fibre Rack - HDODF Rack | 45100
Downer | Downer - TFO (Wideband) | W11419 | Driven Earth Electrodes (2 x 1440 long) & Pit | Each | 486 | Driven Earth Electrodes (2 x 1440 long) & Pit | 45100
Downer | Downer - TFO (Wideband) | W11595 | WT-11a Intermediate exchange jumpering (Electrical) | Per Site | 56.85 | WT-11a Intermediate exchange jumpering (Electrical) | 45100
Downer | Downer - TFO (Wideband) | W11849 | Border Protection for Pits - Pre Cast Collar - Single Cover Pit | Each | 81.21 | Border Protection for Pits - Pre Cast Collar - Single Cover Pit | 45100
Downer | Downer - TFO (Wideband) | W11850 | Pre Cast Collar - Double Cover Pit | Each | 296.03 | Pre Cast Collar - Double Cover Pit | 45100
Downer | Downer - TFO (Wideband) | W11862 | Site Visit fee to locate Fibre Optic/ Copper cable/s Zone One Only - Locate direct buried optic fibre cable via vacuum excavation | Per hr | 162.41 | Site Visit fee to locate Fibre Optic/ Copper cable/s Zone One Only - Locate direct buried optic fibre cable via vacuum excavation | 45100
Downer | Downer - TFO (Wideband) | W12039 | Install Optical Fibre Cable - Haul Optical Fibre Cable | Metre | 2.18 | Install Optical Fibre Cable - Haul Optical Fibre Cable | 45100
Downer | Downer - TFO (Wideband) | W12299 | WO-2e Install 72F OMF/OFF/ OEF Terminal unit and prepare cable for splicing | Per Terminal Unit | 549.62 | WO-2e Install 72F OMF/OFF/ OEF Terminal unit and prepare cable for splicing | 45100
Downer | Downer - TFO (Wideband) | W12300 | WO-2f Install 144F OMF/OFF/ OEF Terminal unit and prepare cable for splicing | Per Terminal Unit | 623.91 | WO-2f Install 144F OMF/OFF/ OEF Terminal unit and prepare cable for splicing | 45100
Downer | Downer - TFO (Wideband) | W12490 | WO-3 Supply and install of flexible conduit | METRE | 9.88 | WO-3 Supply and install of flexible conduit | 45100
Downer | Downer - TFO (Wideband) | W12731 | Removal of Asbestos Pit - Single Lidded Pit any Size | Per Pit | 226.59 | Removal of Asbestos Pit - Single Lidded Pit any Size | 45100
Downer | Downer - TFO (Wideband) | W12732 | Removal of asbestos pit - double lidded pit any size | Per Pit | 276.26 | Removal of asbestos pit - double lidded pit any size | 45100
Downer | Downer - TFO (Wideband) | W12733 | Removal of Asbestos Pit - Triple Lidded Pit any Size | Per Pit | 325.91 | Removal of Asbestos Pit - Triple Lidded Pit any Size | 45100
Downer | Downer - TFO (Wideband) | W12792 | WT-12 Install and Commission of managed Customer premises equipment | Per unit | 170.38 | WT-12 Install and Commission of managed Customer premises equipment | 45100
Downer | Downer - TFO (Wideband) | W12798 | Remove Embedded ACM - Up To 2 Bags | Each | 193.33 | Remove Embedded ACM - Up To 2 Bags | 45100
Downer | Downer - TFO (Wideband) | W12799 | Remove Embedded ACM - 3rd and Subsequent Bags | Per Bag | 27.51 | Remove Embedded ACM - 3rd and Subsequent Bags | 45100
Downer | Downer - TFO (Wideband) | W12800 | Removal of ACM debris single bag | Per Bag | 27.41 | Removal of ACM debris single bag | 45100
Downer | Downer - TFO (Wideband) | W12892 | WT-5b Install CIENA 6500 client interface card | Per card | 160.61 | WT-5b Install CIENA 6500 client interface card | 45100
Downer | Downer - TFO (Wideband) | W12909 | Pits in Already Excavated Trench - Supply and Install Double cover Plastic Pit (P6) | Each | 710.05 | Pits in Already Excavated Trench - Supply and Install Double cover Plastic Pit (P6) | 45100
Downer | Downer - TFO (Wideband) | W12910 | Pits in Already Excavated Trench - Supply and Install Triple cover Plastic Pit (P9) | Per pit | 1231.11 | Pits in Already Excavated Trench - Supply and Install Triple cover Plastic Pit (P9) | 45100
Downer | Downer - TFO (Wideband) | W12919 | WO-2a Install and Integration of 72F tie cable between Existing Racks/HDODF | Cost per Unit | 1204.16 | WO-2a Install and Integration of 72F tie cable between Existing Racks/HDODF | 45100
Downer | Downer - TFO (Wideband) | W12936 | WO-2d Perform an Insertion Loss Test on a fully terminated Tie Cable Installation. | Cost per 12 Fibres | 139.99 | WO-2d Perform an Insertion Loss Test on a fully terminated Tie Cable Installation. | 45100
Downer | Downer - TFO (Wideband) | W12938 | WT-1d Install of an Ethernet Product on an existing device with ethernet over transport augment | Cost per system | 632.89 | WT-1d Install of an Ethernet Product on an existing device with ethernet over transport augment | 45100
Downer | Downer - TFO (Wideband) | W12944 | WT-4b Install of a Wideband Transmission Product including new Transmission Equipment | per service | 516.8 | WT-4b Install of a Wideband Transmission Product including new Transmission Equipment | 45100
Downer | Downer - TFO (Wideband) | W12946 | WT-4a Install of a Wideband Transmission Product via Port Activation | per service | 467.73 | WT-4a Install of a Wideband Transmission Product via Port Activation | 45100
Downer | Downer - TFO (Wideband) | W12947a | WT-3a Install of a Wideband Carrier Ethernet Product - existing devices both ends (Metro) | per existing both ends | 535.41 | WT-3a Install of a Wideband Carrier Ethernet Product - existing devices both ends (Metro) | 45100
Downer | Downer - TFO (Wideband) | W12947b | WT-3a Install of a Wideband Carrier Ethernet Product - existing devices both ends (Regional) | per existing both ends | 535.41 | WT-3a Install of a Wideband Carrier Ethernet Product - existing devices both ends (Regional) | 45100
Downer | Downer - TFO (Wideband) | W12948 | WT-3c Install of a Wideband Carrier Ethernet Product - new devices both ends | per new both ends | 1136.99 | WT-3c Install of a Wideband Carrier Ethernet Product - new devices both ends | 45100
Downer | Downer - TFO (Wideband) | W12949 | WT-3b Install of a Wideband Carrier Ethernet Product - new device one end | per new one end | 731.5 | WT-3b Install of a Wideband Carrier Ethernet Product - new device one end | 45100
Downer | Downer - TFO (Wideband) | W12954 | WT-8a Install Customer Wideband Rack and power system | Per unit | 195.07 | WT-8a Install Customer Wideband Rack and power system | 45100
Downer | Downer - TFO (Wideband) | W12958 | WT-1b Install of an Ethernet Product and new Device with Ethernet over Transport Backhaul | Per unit | 885.21 | WT-1b Install of an Ethernet Product and new Device with Ethernet over Transport Backhaul | 45100
Downer | Downer - TFO (Wideband) | W12960 | WT-1a Install of an Ethernet Product and new Device via Direct Fibre | Per system | 811 | WT-1a Install of an Ethernet Product and new Device via Direct Fibre | 45100
Downer | Downer - TFO (Wideband) | W12964 | WT-2a Install of a Wideband Fibre Based Service | per service | 873.74 | WT-2a Install of a Wideband Fibre Based Service | 45100
Downer | Downer - TFO (Wideband) | W12966 | WT-13 Install SDH cards & associated cabling | Per card | 293.39 | WT-13 Install SDH cards & associated cabling | 45100
Downer | Downer - TFO (Wideband) | W12968 | WO-2c Install fibre patch cords / pigtails during a fully terminated Exchange Cable Installation | Per Fibre | 20.02 | WO-2c Install fibre patch cords / pigtails during a fully terminated Exchange Cable Installation | 45100
Downer | Downer - TFO (Wideband) | W12971 | Install Optical Fibre Rack - Type 92 Rack | Each | 380.64 | Install Optical Fibre Rack - Type 92 Rack | 45100
Downer | Downer - TFO (Wideband) | W12973 | Fit Optical fibre closure 1 to 24 fibre | Per Joint | 209.4 | Fit Optical fibre closure 1 to 24 fibre | 45100
Downer | Downer - TFO (Wideband) | W12974 | Fit Optical fibre closure 12 to 72 fibre | Per Joint | 322.74 | Fit Optical fibre closure 12 to 72 fibre | 45100
Downer | Downer - TFO (Wideband) | W12976 | Fit UCNP 7-20 closure | Closure | 517.87 | Fit UCNP 7-20 closure | 45100
Downer | Downer - TFO (Wideband) | W12977 | Optical Fibre Closure - UCNP 9-30 closure | Closure | 610.45 | Optical Fibre Closure - UCNP 9-30 closure | 45100
Downer | Downer - TFO (Wideband) | W12978 | WO-2b Splicing fibre to fibre during a fully terminated Exchange Cable Installation | Per Fibre | 9.18 | WO-2b Splicing fibre to fibre during a fully terminated Exchange Cable Installation | 45100
Downer | Downer - TFO (Wideband) | W12979 | Install Customer Optical Fibre Termination Unit (COFTU) - Install up to 72 Fibre COFTU | Each | 257.55 | Install Customer Optical Fibre Termination Unit (COFTU) - Install up to 72 Fibre COFTU | 45100
Downer | Downer - TFO (Wideband) | W12981 | Rod and Rope Conduit and Install Optical Fibre Cable (Greater than 144 Fibre) – Vacant Conduit/sub duct | Metre | 3.39 | Rod and Rope Conduit and Install Optical Fibre Cable (Greater than 144 Fibre) – Vacant Conduit/sub duct | 45100
Downer | Downer - TFO (Wideband) | W12982 | Rod and Rope Conduit and Install Optical Fibre Cable (Greater than 144 Fibre) – Occupied Conduit | Metre | 4.05 | Rod and Rope Conduit and Install Optical Fibre Cable (Greater than 144 Fibre) – Occupied Conduit | 45100
Downer | Downer - TFO (Wideband) | W12983 | Haul Optical Fibre Cable (Greater than 144 Fibre) | Metre | 3.04 | Haul Optical Fibre Cable (Greater than 144 Fibre) | 45100
Downer | Downer - TFO (Wideband) | W12984 | Optical Fibre Closure - Install and prepare additional optic fibre cable into joint up to 13-72 Fibre | Per Cable | 114.64 | Optical Fibre Closure - Install and prepare additional optic fibre cable into joint up to 13-72 Fibre | 45100
Downer | Downer - TFO (Wideband) | W12985 | Install and prepare additional optic fibre cable into existing joint greater than 72 Fibre | Per cable | 139.01 | Install and prepare additional optic fibre cable into existing joint greater than 72 Fibre | 45100
Downer | Downer - TFO (Wideband) | W12986 | Install Optical Fibre Terminal Unit - 13 – 72 fibre cable size | Each | 295.16 | Install Optical Fibre Terminal Unit - 13 – 72 fibre cable size | 45100
Downer | Downer - TFO (Wideband) | W12987 | Install Optical Fibre Terminal Unit - 73 – 144 fibre cable size | Each | 587.22 | Install Optical Fibre Terminal Unit - 73 – 144 fibre cable size | 45100
Downer | Downer - TFO (Wideband) | W12988 | Install Optical Fibre Terminal Unit - > 144 fibre cable size | Each | 1067.74 | Install Optical Fibre Terminal Unit - > 144 fibre cable size | 45100
Downer | Downer - TFO (Wideband) | W13003 | Installation of Pigtail/corded fibre/patch lead - Install Single Pigtail/corded fibre/patch lead at any Single locations | Per fibre | 55.8 | Installation of Pigtail/corded fibre/patch lead - Install Single Pigtail/corded fibre/patch lead at any Single locations | 45100
Downer | Downer - TFO (Wideband) | W13004 | Installation of Pigtail/corded fibre/patch lead - Install Second and subsequent Pigtail/corded fibre/patch lead (up to and including 20metre)extra over to OO-6e1 | Per fibre | 25.67 | Installation of Pigtail/corded fibre/patch lead - Install Second and subsequent Pigtail/corded fibre/patch lead (up to and including 20metre)extra over to OO-6e1 | 45100
Downer | Downer - TFO (Wideband) | W13005 | Installation of Pigtail/corded fibre/patch lead - Install Second and subsequent Pigtail/corded fibre/patch lead (greater than 20m) extra over to OO-6e1 | Per fibre | 40.07 | Installation of Pigtail/corded fibre/patch lead - Install Second and subsequent Pigtail/corded fibre/patch lead (greater than 20m) extra over to OO-6e1 | 45100
Downer | Downer - TFO (Wideband) | W13040 | WT-5c Install and Commission a CIENA 6500- 14 or 32 POTS subrack | per subrack | 422.56 | WT-5c Install and Commission a CIENA 6500- 14 or 32 POTS subrack | 45100
Downer | Downer - TFO (Wideband) | W13041 | WT-5d Install and Commission a CIENA 6500-7 type 2/POTS ROADM/DIA subrack | per subrack | 811 | WT-5d Install and Commission a CIENA 6500-7 type 2/POTS ROADM/DIA subrack | 45100
Downer | Downer - TFO (Wideband) | W13043 | WT-5e Install WE node filter rack configuration only | per filter rack | 232.17 | WT-5e Install WE node filter rack configuration only | 45100
Downer | Downer - TFO (Wideband) | W13044 | WT-5f Install and Commission CIENA 6500-7 type 2 traffic shelf | per subrack | 811 | WT-5f Install and Commission CIENA 6500-7 type 2 traffic shelf | 45100
Downer | Downer - TFO (Wideband) | W13045 | WT-5g Install and Commission a WE CIENA 6500-7 type 2 subrack | Per subrack | 811 | WT-5g Install and Commission a WE CIENA 6500-7 type 2 subrack | 45100
Downer | Downer - TFO (Wideband) | W13457 | Replace Pit Covers (Reinforced concrete, composite and cast iron) - Supply & Install Composite Pit Cover, 5 Pit | Each cover | 58.8 | Replace Pit Covers (Reinforced concrete, composite and cast iron) - Supply & Install Composite Pit Cover, 5 Pit | 45100
Downer | Downer - TFO (Wideband) | W13458 | Replace Pit Covers (Reinforced concrete, composite and cast iron) - Supply & Install Composite Pit Cover, 6, 8 & 9 Pit | Each cover | 69.29 | Replace Pit Covers (Reinforced concrete, composite and cast iron) - Supply & Install Composite Pit Cover, 6, 8 & 9 Pit | 45100
Downer | Downer - TFO (Wideband) | W1352 | Install Alarm Power and Distribution Panel (APDP) - All Types | per panel | 235.09 | Install Alarm Power and Distribution Panel (APDP) - All Types | 45100
Downer | Downer - TFO (Wideband) | W1543 | WO-2h Install OFDF 1 Drawer Sub-rack & Patch Panel. | per Panel | 74.53 | WO-2h Install OFDF 1 Drawer Sub-rack & Patch Panel. | 45100
Downer | Downer - TFO (Wideband) | W2743 | OTR boring 51-110mm ID pipe including under roadways | Per metre | 75.25 | OTR boring 51-110mm ID pipe including under roadways | 45100
Downer | Downer - TFO (Wideband) | W4742 | O/F joint re-entry - openable joint (OJ) | Per unit | 67.45 | O/F joint re-entry - openable joint (OJ) | 45100
Downer | Downer - TFO (Wideband) | W4743 | O/F Joint re-entry-inline | Per joint | 124.22 | O/F Joint re-entry-inline | 45100
Downer | Downer - TFO (Wideband) | W5076 | Rod, Rope and Prove Conduit or Pipe - Rod, Rope and Prove Conduit or Pipe | Metre | 1.29 | Rod, Rope and Prove Conduit or Pipe - Rod, Rope and Prove Conduit or Pipe | 45100
Downer | Downer - TFO (Wideband) | W5088 | Cable Installation /Removal - Direct Buried Cable Installed by Open Trenching Techniques - Provision of trench in OTR (750 mm deep and up to 1000 metres in length) | Metre | 10.9 | Cable Installation /Removal - Direct Buried Cable Installed by Open Trenching Techniques - Provision of trench in OTR (750 mm deep and up to 1000 metres in length) | 45100
Downer | Downer - TFO (Wideband) | W5094 | Cable Installation /Removal - Recover Cable from External Plant Network - Single or Multiple 2/5pr & up to 200pr cable | Metre | 1 | Cable Installation /Removal - Recover Cable from External Plant Network - Single or Multiple 2/5pr & up to 200pr cable | 45100
Downer | Downer - TFO (Wideband) | W5096 | Recover cable - Greater than 200 pair | Metre | 4 | Recover cable - Greater than 200 pair | 45100
Downer | Downer - TFO (Wideband) | W5193 | Cable Installation/Removal in Tunnels (Applicable to Sydney and Melbourne Areas Only). - Cable Hauling - Optical Fibre | Metre | 4.56 | Cable Installation/Removal in Tunnels (Applicable to Sydney and Melbourne Areas Only). - Cable Hauling - Optical Fibre | 45100
Downer | Downer - TFO (Wideband) | W5201 | Cable Installation/Removal in Tunnels (Applicable to Sydney and Melbourne Areas Only). - Cable Racking - Optical Fibre | Metre | 1.64 | Cable Installation/Removal in Tunnels (Applicable to Sydney and Melbourne Areas Only). - Cable Racking - Optical Fibre | 45100
Downer | Downer - TFO (Wideband) | W5202 | Cable (or Lead-in) Installation/Removal in Buildings - Rodding and Roping in Buildings - Rod and Rope ceiling/underfloor space | Metre | 1.53 | Cable (or Lead-in) Installation/Removal in Buildings - Rodding and Roping in Buildings - Rod and Rope ceiling/underfloor space | 45100
Downer | Downer - TFO (Wideband) | W5203 | Cable (or Lead-in) Installation/Removal in Buildings - Rodding and Roping in Buildings - Provide draw rope in riser shaft/cable race. | Metre | 2.37 | Cable (or Lead-in) Installation/Removal in Buildings - Rodding and Roping in Buildings - Provide draw rope in riser shaft/cable race. | 45100
Downer | Downer - TFO (Wideband) | W5204 | Cable (or Lead-in) Installation/Removal in Buildings - Cable Hauling - Smaller than or equal to 100 pair cable or equal to 144F Optical in ceiling or floor space. | Metre | 4.53 | Cable (or Lead-in) Installation/Removal in Buildings - Cable Hauling - Smaller than or equal to 100 pair cable or equal to 144F Optical in ceiling or floor space. | 45100
Downer | Downer - TFO (Wideband) | W5205 | Cable (or Lead-in) Installation/Removal in Buildings - Cable Hauling - Larger than 100 pair cable or larger than 144F Optical in ceiling, riser shaft or floor space. | Metre | 5.81 | Cable (or Lead-in) Installation/Removal in Buildings - Cable Hauling - Larger than 100 pair cable or larger than 144F Optical in ceiling, riser shaft or floor space. | 45100
Downer | Downer - TFO (Wideband) | W5206 | Cable (or Lead-in) Installation/Removal in Buildings - Cable Hauling - Smaller than or equal to 100 pair cable or equal to 144F Optical in riser shaft. | Metre | 4.28 | Cable (or Lead-in) Installation/Removal in Buildings - Cable Hauling - Smaller than or equal to 100 pair cable or equal to 144F Optical in riser shaft. | 45100
Downer | Downer - TFO (Wideband) | W5207 | DD-9b4 Haul Larger than 100 pair cable or Optical fibre in riser shaft | METRE | 6.19 | DD-9b4 Haul Larger than 100 pair cable or Optical fibre in riser shaft | 45100
Downer | Downer - TFO (Wideband) | W5212 | Cable (or Lead-in) Installation/Removal in Buildings - Cable Racking/Cable Support - Up to 100 Pair cable and Optical Fibre | Metre | 2.37 | Cable (or Lead-in) Installation/Removal in Buildings - Cable Racking/Cable Support - Up to 100 Pair cable and Optical Fibre | 45100
Downer | Downer - TFO (Wideband) | W5217 | Replace Manhole Covers | Each cover panel | 235.45 | Replace Manhole Covers | 45100
Downer | Downer - TFO (Wideband) | W5228 | Reinstatement of Soil (Existing Pits/Manholes/Trenches) | Per 0.25 cu metres. | 38.58 | Reinstatement of Soil (Existing Pits/Manholes/Trenches) | 45100
Downer | Downer - TFO (Wideband) | W5241 | Supply and replace Reinforced concrete cover (All Sizes) | Each cover | 62.39 | Supply and replace Reinforced concrete cover (All Sizes) | 45100
Downer | Downer - TFO (Wideband) | W5242 | Replace Pit Covers (Reinforced concrete, composite and cast iron) - Cast iron cover (J2/JC2/P2, J3/JC3/P3, J4/JC4/P4) | Each lid | 142.98 | Replace Pit Covers (Reinforced concrete, composite and cast iron) - Cast iron cover (J2/JC2/P2, J3/JC3/P3, J4/JC4/P4) | 45100
Downer | Downer - TFO (Wideband) | W5245 | Replace Pit Covers (Reinforced concrete, composite and cast iron) - Cast iron cover (P5) | Each lid | 185.95 | Replace Pit Covers (Reinforced concrete, composite and cast iron) - Cast iron cover (P5) | 45100
Downer | Downer - TFO (Wideband) | W5246 | Replace Pit Covers (Reinforced concrete, composite and cast iron) - Cast iron cover (H6/8/9, JC6/8/9, P6/8/9) | Each lid | 204.15 | Replace Pit Covers (Reinforced concrete, composite and cast iron) - Cast iron cover (H6/8/9, JC6/8/9, P6/8/9) | 45100
Downer | Downer - TFO (Wideband) | W5275 | Border Protection for Pits - Cast In-situ Collar Double Cover Pit | Each | 168.88 | Border Protection for Pits - Cast In-situ Collar Double Cover Pit | 45100
Downer | Downer - TFO (Wideband) | W5276 | Border Protection for Pits - Cast In-situ Collar Triple Cover Pit | Each | 224.73 | Border Protection for Pits - Cast In-situ Collar Triple Cover Pit | 45100
Downer | Downer - TFO (Wideband) | W5277 | Border Protection for Pits - Cast In-situ Collar Single Cover Pit | Each | 81.48 | Border Protection for Pits - Cast In-situ Collar Single Cover Pit | 45100
Downer | Downer - TFO (Wideband) | W5278 | Rectify Blockages up to Up to 2000mm in length and 1000 mm deep - Less than or equivalent to 50 mm diameter by 2000 mm long | Each | 250.35 | Rectify Blockages up to Up to 2000mm in length and 1000 mm deep - Less than or equivalent to 50 mm diameter by 2000 mm long | 45100
Downer | Downer - TFO (Wideband) | W5279 | Rectify Blockages up to 2000mm in length and 1000 mm deep - Over 50 mm diameter by 2000 mm long | Each | 361 | Rectify Blockages up to 2000mm in length and 1000 mm deep - Over 50 mm diameter by 2000 mm long | 45100
Downer | Downer - TFO (Wideband) | W5282 | Rectify Blockages - Extra over item EE-14a per metre or part thereof (length). - Less than or equivalent to 50 mm diameter | Metre | 68.15 | Rectify Blockages - Extra over item EE-14a per metre or part thereof (length). - Less than or equivalent to 50 mm diameter | 45100
Downer | Downer - TFO (Wideband) | W5283 | Rectify Blockages - Extra over item EE-14a per metre or part thereof (length). - Over 50 mm diameter | Metre | 84.35 | Rectify Blockages - Extra over item EE-14a per metre or part thereof (length). - Over 50 mm diameter | 45100
Downer | Downer - TFO (Wideband) | W5289 | Rectify Blockages - Clear Blockage using low-pressure hose or equivalent. | Each | 68.95 | Rectify Blockages - Clear Blockage using low-pressure hose or equivalent. | 45100
Downer | Downer - TFO (Wideband) | W5294 | Pits in Already Excavated Trench - Supply and Install Single cover Plastic Pit (P2) | Each | 174.89 | Pits in Already Excavated Trench - Supply and Install Single cover Plastic Pit (P2) | 45100
Downer | Downer - TFO (Wideband) | W5295 | Pits in Already Excavated Trench - Supply and Install Single cover Plastic Pit (P5) | Each | 304.24 | Pits in Already Excavated Trench - Supply and Install Single cover Plastic Pit (P5) | 45100
Downer | Downer - TFO (Wideband) | W5296 | Pits in Already Excavated Trench - Supply and Install Single cover Plastic Pit (P5 + collar/riser) | Each | 401.61 | Pits in Already Excavated Trench - Supply and Install Single cover Plastic Pit (P5 + collar/riser) | 45100
Downer | Downer - TFO (Wideband) | W5298 | Pits in Already Excavated Trench - Supply and Install Double cover Plastic Pit (P8 i.e. P6 + collar/riser) | Each | 966.73 | Pits in Already Excavated Trench - Supply and Install Double cover Plastic Pit (P8 i.e. P6 + collar/riser) | 45100
Downer | Downer - TFO (Wideband) | W5300 | Pits in Already Excavated Trench - Supply & install Precast concrete double cover pit. | Each | 925.93 | Pits in Already Excavated Trench - Supply & install Precast concrete double cover pit. | 45100
Downer | Downer - TFO (Wideband) | W5301 | Pits in Already Excavated Trench - Supply and install Precast concrete triple cover pit. | Each | 1487.17 | Pits in Already Excavated Trench - Supply and install Precast concrete triple cover pit. | 45100
Downer | Downer - TFO (Wideband) | W5302 | Supply and install extra/over collar/riser for P8 (additional riser) | Each | 202.87 | Supply and install extra/over collar/riser for P8 (additional riser) | 45100
Downer | Downer - TFO (Wideband) | W5304 | Supply and install new pit over existing Plant - Single cover Plastic Pit (P2) | each | 250.23 | Supply and install new pit over existing Plant - Single cover Plastic Pit (P2) | 45100
Downer | Downer - TFO (Wideband) | W5305 | Pits over Existing Plant - Supply and Install Single cover Plastic Pit (P5) | Each | 431.71 | Pits over Existing Plant - Supply and Install Single cover Plastic Pit (P5) | 45100
Downer | Downer - TFO (Wideband) | W5306 | Pits over Existing Plant - Supply and Install Single cover Plastic Pit (P5 + collar/riser) | Each | 537.21 | Pits over Existing Plant - Supply and Install Single cover Plastic Pit (P5 + collar/riser) | 45100
Downer | Downer - TFO (Wideband) | W5307 | Pits over Existing Plant - Supply and Install Double cover Plastic Pit (P6) | Each | 772.1 | Pits over Existing Plant - Supply and Install Double cover Plastic Pit (P6) | 45100
Downer | Downer - TFO (Wideband) | W5308 | Pits over Existing Plant - Supply and Install Double cover Plastic Pit (P8 i.e. P6 + collar/riser) | Each | 1149.03 | Pits over Existing Plant - Supply and Install Double cover Plastic Pit (P8 i.e. P6 + collar/riser) | 45100
Downer | Downer - TFO (Wideband) | W5309 | Pits over Existing Plant - Supply and Install Triple cover Plastic Pit (P9) | Each | 1800.29 | Pits over Existing Plant - Supply and Install Triple cover Plastic Pit (P9) | 45100
Downer | Downer - TFO (Wideband) | W5310 | Pits over Existing Plant - Supply and Install Precast concrete double cover pit. | Each | 925.81 | Pits over Existing Plant - Supply and Install Precast concrete double cover pit. | 45100
Downer | Downer - TFO (Wideband) | W5311 | Pits over Existing Plant - Supply and Install Precast concrete triple cover pit. | Each | 1516.23 | Pits over Existing Plant - Supply and Install Precast concrete triple cover pit. | 45100
Downer | Downer - TFO (Wideband) | W5312 | Extra/over collar/riser for P8 (additional riser) | Each | 217.99 | Extra/over collar/riser for P8 (additional riser) | 45100
Downer | Downer - TFO (Wideband) | W5325 | Remove and dispose of asbestos conduit | Per Pit | 145.4 | Remove and dispose of asbestos conduit | 45100
Downer | Downer - TFO (Wideband) | W5326 | Provide conduit entry to FAC pit | Per Pit | 88.1 | Provide conduit entry to FAC pit | 45100
Downer | Downer - TFO (Wideband) | W5340 | Pipe & Conduit Installation (Open trenching only Urban and Rural in OTR) - Supply and Install 1x up to 50mm PVC conduit supplied in 4.5m lengths in trench (up to 1000 metres). | Metre | 25.03 | Pipe & Conduit Installation (Open trenching only Urban and Rural in OTR) - Supply and Install 1x up to 50mm PVC conduit supplied in 4.5m lengths in trench (up to 1000 metres). | 45100
Downer | Downer - TFO (Wideband) | W5343 | Pipe & Conduit Installation (Open trenching only Urban and Rural in OTR) - Supply and Install 1x100mm PVC conduit supplied in 4.5m lengths in trench (up to 1000 metres). | Metre | 32.61 | Pipe & Conduit Installation (Open trenching only Urban and Rural in OTR) - Supply and Install 1x100mm PVC conduit supplied in 4.5m lengths in trench (up to 1000 metres). | 45100
Downer | Downer - TFO (Wideband) | W5366 | Pipe & Conduit Installation (Open trenching only Urban and Rural in Rock) - Supply and Install 1x up to 50mm PVC conduit supplied in 4.5m lengths in trench (up to 100 metres). | Metre | 68.21 | Pipe & Conduit Installation (Open trenching only Urban and Rural in Rock) - Supply and Install 1x up to 50mm PVC conduit supplied in 4.5m lengths in trench (up to 100 metres). | 45100
Downer | Downer - TFO (Wideband) | W5379 | Pipe & Conduit Installation (Open trenching only Urban and Rural in Rock) - Supply and Install Supply and install additional 50mm PVC conduit | Metre | 6.11 | Pipe & Conduit Installation (Open trenching only Urban and Rural in Rock) - Supply and Install Supply and install additional 50mm PVC conduit | 45100
Downer | Downer - TFO (Wideband) | W5380 | Pipe & Conduit Installation (Open trenching only Urban and Rural in OTR) - Open-Cut Road Crossing - Supply and Install Supply and install additional 100mm PVC conduit | Metre | 10.14 | Pipe & Conduit Installation (Open trenching only Urban and Rural in OTR) - Open-Cut Road Crossing - Supply and Install Supply and install additional 100mm PVC conduit | 45100
Downer | Downer - TFO (Wideband) | W5381 | Pipe & Conduit Installation (Open trenching only Urban and Rural in OTR) - Open-Cut Road Crossing - Supply and Install 1x 50mm PVC conduit supplied in 4.5m lengths in trench. | Metre | 95.26 | Pipe & Conduit Installation (Open trenching only Urban and Rural in OTR) - Open-Cut Road Crossing - Supply and Install 1x 50mm PVC conduit supplied in 4.5m lengths in trench. | 45100
Downer | Downer - TFO (Wideband) | W5382 | Pipe & Conduit Installation (Open trenching only Urban and Rural in OTR) - Open-Cut Road Crossing - Supply and Install 1x100mm PVC conduit supplied in 4.5m lengths in trench. | Metre | 133.01 | Pipe & Conduit Installation (Open trenching only Urban and Rural in OTR) - Open-Cut Road Crossing - Supply and Install 1x100mm PVC conduit supplied in 4.5m lengths in trench. | 45100
Downer | Downer - TFO (Wideband) | W5391 | Pipe & Conduit Installation (Open trenching only Urban and Rural in Rock) - Supply and Install 1x 50mm PVC conduit supplied in 4.5m lengths to trench. | Metre | 127.08 | Pipe & Conduit Installation (Open trenching only Urban and Rural in Rock) - Supply and Install 1x 50mm PVC conduit supplied in 4.5m lengths to trench. | 45100
Downer | Downer - TFO (Wideband) | W5392 | Pipe & Conduit Installation (Open trenching only Urban and Rural in Rock) - Supply and Install 1x100mm PVC conduit supplied in 4.5m lengths to trench. | Metre | 131.76 | Pipe & Conduit Installation (Open trenching only Urban and Rural in Rock) - Supply and Install 1x100mm PVC conduit supplied in 4.5m lengths to trench. | 45100
Downer | Downer - TFO (Wideband) | W5396 | Break-in manhole | Each entry | 139.77 | Break-in manhole | 45100
Downer | Downer - TFO (Wideband) | W5397 | Manhole Pipe Entries - Second and subsequent entries (Core Bore - Cast in situ manhole or precast manhole where existing knockouts are not suitably placed, 50 to 150 mm conduit) | Each | 90.25 | Manhole Pipe Entries - Second and subsequent entries (Core Bore - Cast in situ manhole or precast manhole where existing knockouts are not suitably placed, 50 to 150 mm conduit) | 45100
Downer | Downer - TFO (Wideband) | W5399 | Link Pipes between Pits | Each | 71.09 | Link Pipes between Pits | 45100
Downer | Downer - TFO (Wideband) | W5401 | Pipe Installed By Trenchless Techniques - OTR Up to 50mm ID (63 OD for continuous roll) pipe | Metre | 54.4 | Pipe Installed By Trenchless Techniques - OTR Up to 50mm ID (63 OD for continuous roll) pipe | 45100
Downer | Downer - TFO (Wideband) | W5404 | Pipe Installed By Trenchless Techniques - OTR 51-100mm ID pipe include under nature strips, footpaths and driveways ( up to 200 metres) | Metre | 75.25 | Pipe Installed By Trenchless Techniques - OTR 51-100mm ID pipe include under nature strips, footpaths and driveways ( up to 200 metres) | 45100
Downer | Downer - TFO (Wideband) | W5406 | OTR boring to 50mm ID (63 OD) pipe including under roadways | Per metre | 51.72 | OTR boring to 50mm ID (63 OD) pipe including under roadways | 45100
Downer | Downer - TFO (Wideband) | W5420 | Pipe Installed By Trenchless Techniques - Rock Up to 50mm ID (63 OD for continuous roll) pipe include under nature strips, footpaths and driveways (<25 metres) | Metre | 206.75 | Pipe Installed By Trenchless Techniques - Rock Up to 50mm ID (63 OD for continuous roll) pipe include under nature strips, footpaths and driveways (<25 metres) | 45100
Downer | Downer - TFO (Wideband) | W5423 | Pipe Installed By Trenchless Techniques - Rock 51-100mm ID pipe include under nature strips, footpaths and driveways (< 25 metres) | Metre | 233.95 | Pipe Installed By Trenchless Techniques - Rock 51-100mm ID pipe include under nature strips, footpaths and driveways (< 25 metres) | 45100
Downer | Downer - TFO (Wideband) | W5426 | Pipe Installed By Trenchless Techniques - Rock Boring Up to 50mm ID (63 OD for continuous roll) pipe including under roadways. | Metre | 222.23 | Pipe Installed By Trenchless Techniques - Rock Boring Up to 50mm ID (63 OD for continuous roll) pipe including under roadways. | 45100
Downer | Downer - TFO (Wideband) | W5427 | Pipe Installed By Trenchless Techniques - Rock 51-100mm ID pipe including under roadways. | Metre | 253.92 | Pipe Installed By Trenchless Techniques - Rock 51-100mm ID pipe including under roadways. | 45100
Downer | Downer - TFO (Wideband) | W5432 | Grundomat to 50mm ID (63 OD) - Supply and install pipe under footpaths and driveways | Per metre | 35.34 | Grundomat to 50mm ID (63 OD) - Supply and install pipe under footpaths and driveways | 45100
Downer | Downer - TFO (Wideband) | W5433 | Grundomat to 51-100mm ID (63 OD) - Supply and install pipe under footpaths and driveways | Per metre | 44.6 | Grundomat to 51-100mm ID (63 OD) - Supply and install pipe under footpaths and driveways | 45100
Downer | Downer - TFO (Wideband) | W5438 | Locate Buried Manholes/Pits/Joints | Per pit or joint | 50.14 | Locate Buried Manholes/Pits/Joints | 45100
Downer | Downer - TFO (Wideband) | W5443 | Break-Out of Pavements - Up to nominal 75mm thickness (not including sub-base) | sq. m | 64.44 | Break-Out of Pavements - Up to nominal 75mm thickness (not including sub-base) | 45100
Downer | Downer - TFO (Wideband) | W5444 | Break-Out of Pavements - Over nominal 75mm thickness, up to nominal 150mm (not including sub-base) : | sq. m | 74.62 | Break-Out of Pavements - Over nominal 75mm thickness, up to nominal 150mm (not including sub-base) : | 45100
Downer | Downer - TFO (Wideband) | W5445 | Break-Out of Pavements - Over nominal 150mm thickness, up to nominal 200mm (not including sub-base) | Square Metre | 88.58 | Break-Out of Pavements - Over nominal 150mm thickness, up to nominal 200mm (not including sub-base) | 45100
Downer | Downer - TFO (Wideband) | W5446 | Reinstated Pavements - Unreinforced concrete (25 Mpa) - Up to 75 mm thick | sq. m | 76.54 | Reinstated Pavements - Unreinforced concrete (25 Mpa) - Up to 75 mm thick | 45100
Downer | Downer - TFO (Wideband) | W5447 | Reinstated Pavements - Unreinforced concrete (25 Mpa) - Over 75 mm to 100 mm thick | sq. m | 87.96 | Reinstated Pavements - Unreinforced concrete (25 Mpa) - Over 75 mm to 100 mm thick | 45100
Downer | Downer - TFO (Wideband) | W5448 | Reinstated Pavements - Unreinforced concrete (25 Mpa) - Over 100 mm to 150 mm thick | sq. m | 107.09 | Reinstated Pavements - Unreinforced concrete (25 Mpa) - Over 100 mm to 150 mm thick | 45100
Downer | Downer - TFO (Wideband) | W5449 | Reinstated Pavements - Reinforced Concrete (25 Mpa) - Up to 100 mm thick | sq. m | 156.91 | Reinstated Pavements - Reinforced Concrete (25 Mpa) - Up to 100 mm thick | 45100
Downer | Downer - TFO (Wideband) | W5450 | Reinstated Pavements - Reinforced Concrete (25 Mpa) - Over 100 mm to 150 mm thick | sq. m | 177.18 | Reinstated Pavements - Reinforced Concrete (25 Mpa) - Over 100 mm to 150 mm thick | 45100
Downer | Downer - TFO (Wideband) | W5451 | Reinstated Pavements - Reinforced Concrete (25 Mpa) - Over 150 mm to 200 mm thick | sq. m | 166.12 | Reinstated Pavements - Reinforced Concrete (25 Mpa) - Over 150 mm to 200 mm thick | 45100
Downer | Downer - TFO (Wideband) | W5452 | Reinstatement using Asphalt - 25 mm thick crushed stone base up to 70mm | Square Metre | 62.12 | Reinstatement using Asphalt - 25 mm thick crushed stone base up to 70mm | 45100
Downer | Downer - TFO (Wideband) | W5453 | Reinstated Pavements - Asphalt 7 to 10 mm aggregate - 50 mm thick on crushed stone base up to 150mm | sq. m | 72.33 | Reinstated Pavements - Asphalt 7 to 10 mm aggregate - 50 mm thick on crushed stone base up to 150mm | 45100
Downer | Downer - TFO (Wideband) | W5454 | Reinstated Pavements - Asphalt 7 to 10 mm aggregate - 75mm thick on crushed stone base up to 200mm | sq. m | 95.04 | Reinstated Pavements - Asphalt 7 to 10 mm aggregate - 75mm thick on crushed stone base up to 200mm | 45100
Downer | Downer - TFO (Wideband) | W5455 | Reinstated Pavements - Bricks and Pavers - Brick or concrete pavers. Remove 80mm maximum thickness pavers on compacted sand layer. | sq. m | 48.68 | Reinstated Pavements - Bricks and Pavers - Brick or concrete pavers. Remove 80mm maximum thickness pavers on compacted sand layer. | 45100
Downer | Downer - TFO (Wideband) | W5456 | Reinstated Pavements - Bricks and Pavers - Lay 80mm maximum thickness pavers on compacted sand layer | sq. m | 59.77 | Reinstated Pavements - Bricks and Pavers - Lay 80mm maximum thickness pavers on compacted sand layer | 45100
Downer | Downer - TFO (Wideband) | W5457 | Reinstated Pavements - Other - Turf | sq. m | 12.37 | Reinstated Pavements - Other - Turf | 45100
Downer | Downer - TFO (Wideband) | W5458 | Reinstated Pavements - Other - Kerb and Channel | Metre | 173.83 | Reinstated Pavements - Other - Kerb and Channel | 45100
Downer | Downer - TFO (Wideband) | W5474 | Supply and Install Marker Post - Supply and fit cable marker on CAN or IEN Optical Fibre cable route | Each marker | 100.38 | Supply and Install Marker Post - Supply and fit cable marker on CAN or IEN Optical Fibre cable route | 45100
Downer | Downer - TFO (Wideband) | W5709 | Install Optical Fibre Cable - Rod and Rope Conduit and Install Optical Fibre Cable – Vacant Conduit/sub duct | Metre | 2.95 | Install Optical Fibre Cable - Rod and Rope Conduit and Install Optical Fibre Cable – Vacant Conduit/sub duct | 45100
Downer | Downer - TFO (Wideband) | W5710 | Optical Fibre Cable Laying in Open Trench (Buried solid) | Metre | 1.62 | Optical Fibre Cable Laying in Open Trench (Buried solid) | 45100
Downer | Downer - TFO (Wideband) | W5715 | Optical Fibre Cable and Dual Cable Installed by Plough Techniques - Cable Plough ( – single cable in Rock) – 1200mm depth | Metre | 34.56 | Optical Fibre Cable and Dual Cable Installed by Plough Techniques - Cable Plough ( – single cable in Rock) – 1200mm depth | 45100
Downer | Downer - TFO (Wideband) | W5739 | Install Optical Fibre Terminal Unit - Up to 12 fibres cable size (max.) | Each | 225.46 | Install Optical Fibre Terminal Unit - Up to 12 fibres cable size (max.) | 45100
Downer | Downer - TFO (Wideband) | W5877 | Rod and Rope Conduit and Install Optical Fibre Cable Occupied Conduit | per linear metre | 3.41 | Rod and Rope Conduit and Install Optical Fibre Cable Occupied Conduit | 45100
Downer | Downer - TFO (Wideband) | W5919 | Supply & install 1st pipe in prov. Trench - 50 mm pipe/conduit | Metre | 7.34 | Supply & install 1st pipe in prov. Trench - 50 mm pipe/conduit | 45100
Downer | Downer - TFO (Wideband) | W5920 | Supply and Install First Pipe/Conduit in Trench Provided by Others. - Supply and install 100 mm conduit | Metre | 11.1 | Supply and Install First Pipe/Conduit in Trench Provided by Others. - Supply and install 100 mm conduit | 45100
Downer | Downer - TFO (Wideband) | W65 | WT-8b Install Customer Wideband Wallhousing and power system | Per wallhousing | 80.02 | WT-8b Install Customer Wideband Wallhousing and power system | 45100
Downer | Downer - TFO (Wideband) | W7624 | Reinstatement using Cold mix for temporary reinstate 25mm thick | Square Metre | 50.24 | Reinstatement using Cold mix for temporary reinstate 25mm thick | 45100
Downer | Downer - TFO (Wideband) | W7625 | Reinstated Pavements - Cold Mix (Temporary Reinstatement) - 50 mm thick | sq. m | 75.41 | Reinstated Pavements - Cold Mix (Temporary Reinstatement) - 50 mm thick | 45100
Downer | Downer - TFO (Wideband) | W7626 | Reinstated Pavements - Cold Mix (Temporary Reinstatement) - 75mm thick | sq. m | 97.75 | Reinstated Pavements - Cold Mix (Temporary Reinstatement) - 75mm thick | 45100
Downer | Downer - TFO (Wideband) | W8477 | Cable Installation /Removal - Direct Buried Cable Installed by Open Trenching Techniques - Provision of trench in rock (750 mm deep up to 100 metres in length) | Metre | 54.47 | Cable Installation /Removal - Direct Buried Cable Installed by Open Trenching Techniques - Provision of trench in rock (750 mm deep up to 100 metres in length) | 45100
Downer | Downer - TFO (Wideband) | W9142 | Supply and Install First Pipe/Conduit in Trench Provided by Others. - Supply/Install riser pipe on exterior wall from ground level to MDF (Local Authority Procedures to be adhered to) | Metre | 16.22 | Supply and Install First Pipe/Conduit in Trench Provided by Others. - Supply/Install riser pipe on exterior wall from ground level to MDF (Local Authority Procedures to be adhered to) | 45100
Downer | Downer - TFO (Wideband) | W9492 | WO-2g Install 312F OMF/OFF/ OEF Terminal unit and prepare cable for splicing | per unit | 985.88 | WO-2g Install 312F OMF/OFF/ OEF Terminal unit and prepare cable for splicing | 45100
Downer | Downer - TFO (Wideband) | W9496 | Cable Placement, Cable Plough optical fibre cable, 1200mm cover, direct buried in OTR (DE) | Linear Metre | 7.87 | Cable Placement, Cable Plough optical fibre cable, 1200mm cover, direct buried in OTR (DE) | 45100
Downer | Downer - TFO (Wideband) | S5869 | Contaminated Waste removal/disposal | Per order | At Cost/ agreed Markup | Contaminated Waste removal/disposal | 45100
Downer | Downer - TFO (Wideband) | PS1 | Non-PIM - Materials not included provided by the Principal, re-reimbursed by Downer for actual fees upon providing evidence | Per Order | At Cost/ agreed Markup | Non-PIM - Materials not included provided by the Principal, re-reimbursed by Downer for actual fees upon providing evidence | 45100
Downer | Downer - TFO (Wideband) | PS10 | Local Authority Charges Legal fees/charges by authority for services to perform work re-reimbursed by Downer for actual fees upon providing evidence | Per Order | At Cost/ agreed Markup | Local Authority Charges Legal fees/charges by authority for services to perform work re-reimbursed by Downer for actual fees upon providing evidence | 45100
Downer | Downer - TFO (Wideband) | PS14 | Services not incl in Schedule items re-reimbursed by Downer for actual fees upon providing evidence (must be pre-approved by Downer) | Per Order | At Cost/ agreed Markup | Services not incl in Schedule items re-reimbursed by Downer for actual fees upon providing evidence (must be pre-approved by Downer) | 45100
Downer | Downer - TFO (Wideband) | PS20 | Traffic Management and Control - re-reimbursed by Downer for actual fees upon providing evidence (must be pre-approved by Downer) | Per Order | At Cost/ agreed Markup | Traffic Management and Control - re-reimbursed by Downer for actual fees upon providing evidence (must be pre-approved by Downer) | 45100
Downer | Downer - TFO (Wideband) | PS25 | Airfares, barge/boat, rail and non-road transport costs - re-reimbursed by Downer for actual fees upon providing evidence | Per Order | At Cost/ agreed Markup | Airfares, barge/boat, rail and non-road transport costs - re-reimbursed by Downer for actual fees upon providing evidence | 45100
Downer | Downer - TFO (Wideband) | PS14-Type2- NonP1 | Type 2 Wideband Works (Not applicable for sites involving P1 exchanges) | Per service | 130 | Type 2 Wideband Works (Not applicable for sites involving P1 exchanges) | 45100
Downer | Downer - TFO (Wideband) | A11306- P1 | Setup, fibre commissioning acceptance testing and integration optical fibre - 1st fibre | Per first fibre | 169.17 | Setup, fibre commissioning acceptance testing and integration optical fibre - 1st fibre | 45100
Downer | Downer - TFO (Wideband) | A12297- P1 | WT-5a Install of a Wideband Wavelength Service | per service | 373.07 | WT-5a Install of a Wideband Wavelength Service | 45100
Downer | Downer - TFO (Wideband) | R11597- P1 | WT-9e Decommission Wideband Service including Transmission Line System Recovery | Per sub rack | 218.83 | WT-9e Decommission Wideband Service including Transmission Line System Recovery | 45100
Downer | Downer - TFO (Wideband) | R13463- P1 | WT-9d Decommission Ethernet Service and Device requiring both Customer and Exchange Recovery | Cost per service | 344.27 | WT-9d Decommission Ethernet Service and Device requiring both Customer and Exchange Recovery | 45100
Downer | Downer - TFO (Wideband) | W12944- P1 | WT-4b Install of a Wideband Transmission Product including new Transmission Equipment | per service | 385.8 | WT-4b Install of a Wideband Transmission Product including new Transmission Equipment | 45100
Downer | Downer - TFO (Wideband) | W12948- P1 | WT-3c Install of a Wideband Carrier Ethernet Product - new devices both ends | per new both ends | 916.03 | WT-3c Install of a Wideband Carrier Ethernet Product - new devices both ends | 45100
Downer | Downer - TFO (Wideband) | W12949- P1 | WT-3b Install of a Wideband Carrier Ethernet Product - new device one end | per new one end | 598.23 | WT-3b Install of a Wideband Carrier Ethernet Product - new device one end | 45100
Downer | Downer - TFO (Wideband) | W12958- P1 | WT-1b Install of an Ethernet Product and new Device with Ethernet over Transport Backhaul | Per unit | 710.27 | WT-1b Install of an Ethernet Product and new Device with Ethernet over Transport Backhaul | 45100
Downer | Downer - TFO (Wideband) | W12960- P1 | WT-1a Install of an Ethernet Product and new Device via Direct Fibre | Per system | 679.66 | WT-1a Install of an Ethernet Product and new Device via Direct Fibre | 45100
Downer | Downer - TFO (Wideband) | W12964- P1 | WT-2a Install of a Wideband Fibre Based Service | per service | 752.46 | WT-2a Install of a Wideband Fibre Based Service | 45100
Downer | Downer - TFO (Wideband) | W12966- P1 | WT-13 Install SDH cards & associated cabling | Per card | 114.52 | WT-13 Install SDH cards & associated cabling | 45100
Downer | Downer - TFO (Wideband) | PS14-Type2- P1 | Type 2 Wideband Works | Per service | 95.4 | Type 2 Wideband Works | 45100
Downer | Downer - TFO (Wideband) | PS14-Type2- PVC | Type 2 Wideband Works - Pre-verification and Completion works | Per first fibre | 26.5 | Type 2 Wideband Works - Pre-verification and Completion works | 45100
Downer | Downer - TFO (Wideband) | W13731 | Labourer (including operators spotters) - Normal Working Hours** | Per Hour | 45.86 | Labourer (including operators spotters) - Normal Working Hours** | 45100
Downer | Downer - TFO (Wideband) | W13732 | Labourer (including operators spotters) - Outside of Normal Working Hours | Per Hour | 61.2 | Labourer (including operators spotters) - Outside of Normal Working Hours | 45100
Downer | Downer - TFO (Wideband) | W13733 | Labourer - fully equipped with vehicle - Normal Working Hours** | Per Hour | 53.42 | Labourer - fully equipped with vehicle - Normal Working Hours** | 45100
Downer | Downer - TFO (Wideband) | W13734 | Labourer - fully equipped with vehicle - Outside of Normal Working Hours | Per Hour | 84.04 | Labourer - fully equipped with vehicle - Outside of Normal Working Hours | 45100
Downer | Downer - TFO (Wideband) | W13735 | Technician - Normal Working Hours** | Per Hour | 64.96 | Technician - Normal Working Hours** | 45100
Downer | Downer - TFO (Wideband) | W13736 | Technician outside of Normal Working Hours** - Outside of Normal Working Hours | Per Hour | 114.19 | Technician outside of Normal Working Hours** - Outside of Normal Working Hours | 45100
Downer | Downer - TFO (Wideband) | W13737 | Technician - fully equipped with vehicle - Normal Working Hours** | Per Hour | 80.41 | Technician - fully equipped with vehicle - Normal Working Hours** | 45100
Downer | Downer - TFO (Wideband) | W13738 | Technician - fully equipped with vehicle - Outside of Normal Working Hours | Per Hour | 129.36 | Technician - fully equipped with vehicle - Outside of Normal Working Hours | 45100
Downer | Downer - TFO (Wideband) | W13739 | Jointer - Normal Working Hours** | Per Hour | 51.17 | Jointer - Normal Working Hours** | 45100
Downer | Downer - TFO (Wideband) | W13740 | Jointer - Outside of Normal Working Hours | Per Hour | 89.54 | Jointer - Outside of Normal Working Hours | 45100
Downer | Downer - TFO (Wideband) | W13741 | Jointer - fully equipped with vehicle - Normal Working Hours** | Per Hour | 64.17 | Jointer - fully equipped with vehicle - Normal Working Hours** | 45100
Downer | Downer - TFO (Wideband) | W13742 | Jointer - fully equipped with vehicle - Outside of Normal Working Hours | Per Hour | 99.68 | Jointer - fully equipped with vehicle - Outside of Normal Working Hours | 45100
Downer | Downer - TFO (Wideband) | W13743 | Field Supervisor - fully equipped with vehicle (Outside Standard Supervision requirements - Applicable Only to ARCW Client mandated fulltime supervision sites) - Normal Working Hours** | Per Hour | 96.77 | Field Supervisor - fully equipped with vehicle (Outside Standard Supervision requirements - Applicable Only to ARCW Client mandated fulltime supervision sites) - Normal Working Hours** | 45100
Downer | Downer - TFO (Wideband) | W13925 | Extra Over – Labourer (including Spotters) outside of Normal Working Hours** | Per Hour | 30.21 | Extra Over – Labourer (including Spotters) outside of Normal Working Hours** | 45100
Downer | Downer - TFO (Wideband) | W13794 | Front end loader with operator | Per Hour | 95.45 | Front end loader with operator | 45100
Downer | Downer - TFO (Wideband) | W13795 | Bob-cat (4-in-1 bucket) with operator | Per Hour | 85.38 | Bob-cat (4-in-1 bucket) with operator | 45100
Downer | Downer - TFO (Wideband) | W13796 | Single-axle tipper truck (5 tonne load) with driver | Per Hour | 85.38 | Single-axle tipper truck (5 tonne load) with driver | 45100
Downer | Downer - TFO (Wideband) | W13797 | Double-axle tipper truck (9 tonne load) with driver | Per Hour | 95.45 | Double-axle tipper truck (9 tonne load) with driver | 45100
Downer | Downer - TFO (Wideband) | W13798 | Excavator (up to 10 tonne) with operator | Per Hour | 105.52 | Excavator (up to 10 tonne) with operator | 45100
Downer | Downer - TFO (Wideband) | W13799 | Excavator (over 10 tonne) with operator | Per Hour | 130.7 | Excavator (over 10 tonne) with operator | 45100
Downer | Downer - TFO (Wideband) | W13800 | Excavator (with rock breaker) with operator | Per Hour | 181.05 | Excavator (with rock breaker) with operator | 45100
Downer | Downer - TFO (Wideband) | W13801 | Dozer 306-400kW with operator | Per Hour | 221.33 | Dozer 306-400kW with operator | 45100
Downer | Downer - TFO (Wideband) | W13802 | Compressor with hoses and breaker (one man capacity) with operator | Per Hour | 65.24 | Compressor with hoses and breaker (one man capacity) with operator | 45100
Downer | Downer - TFO (Wideband) | W13803 | Rock saw with operator | Per Hour | 352.24 | Rock saw with operator | 45100
Downer | Downer - TFO (Wideband) | W13804 | EWP Truck up to 12m with operator/spotter (performing SOR activities) | Per Hour | 125.66 | EWP Truck up to 12m with operator/spotter (performing SOR activities) | 45100
Downer | Downer - TFO (Wideband) | W13805 | Backhoe with operator | Per Hour | 85.38 | Backhoe with operator | 45100
Downer | Downer - TFO (Wideband) | W13806 | Slasher with operator | Per Hour | 60.21 | Slasher with operator | 45100
Downer | Downer - TFO (Wideband) | W13807 | EWP Truck up to 12m with Operator/spotter (Wet Hire for non-SOR engagement) | Per Hour | 130.22 | EWP Truck up to 12m with Operator/spotter (Wet Hire for non-SOR engagement) | 45100
Downer | Downer - TFO (Wideband) | W13812 | EWP (Scissor Type) up to 12m with operator (performing SOR activities) | Per Hour | 82.34 | EWP (Scissor Type) up to 12m with operator (performing SOR activities) | 45100
Downer | Downer - TFO (Wideband) | W13813 | EWP (Scissor Type) up to 12m with operator (Wet Hire for non-SOR engagement) | Per Hour | 82.34 | EWP (Scissor Type) up to 12m with operator (Wet Hire for non-SOR engagement) | 45100
Downer | Downer - TFO (Wideband) | W13814 | PE-22 Vacuum Excavation (with Operators) Hourly Rate - Normal Working Hours** | Per Hour | 288.69 | PE-22 Vacuum Excavation (with Operators) Hourly Rate - Normal Working Hours** | 45100
Downer | Downer - TFO (Wideband) | W13815 | PE-23 Vacuum Excavation (with Operators) Day Rate - Normal Working Hours** | Per Day | 2029.87 | PE-23 Vacuum Excavation (with Operators) Day Rate - Normal Working Hours** | 45100
Downer | Downer - TFO (Wideband) | S13816 | Mobilisation (Mileage) 1 person | Per km | 1.01 | Mobilisation (Mileage) 1 person | 45100
Downer | Downer - TFO (Wideband) | S13817 | Mobilisation (Mileage) 2 person team | Per km | 1.74 | Mobilisation (Mileage) 2 person team | 45100
Downer | Downer - TFO (Wideband) | S13818 | Mobilisation (Mileage) for a 3 person team | Per km | 2.61 | Mobilisation (Mileage) for a 3 person team | 45100
Downer | Downer - TFO (Wideband) | S13819 | Mobilisation (Mileage) for a 4 person team | Per km | 3.28 | Mobilisation (Mileage) for a 4 person team | 45100
Downer | Downer - TFO (Wideband) | S13820 | LAFHA | Per day | 186.3 | LAFHA | 45100
Downer | Downer - TFO (Wideband) | S13825 | Heavy construction vehicle or plant travel (Large Truck, Vac Truck, Plant above 6t, large excavator) | Per km | 2.93 | Heavy construction vehicle or plant travel (Large Truck, Vac Truck, Plant above 6t, large excavator) | 45100
Downer | Downer - TFO (Wideband) | S13830 | Medium construction vehicle or plant travel (Medium Truck, Plant above 3.5t, Backhoe) | Per km | 2.03 | Medium construction vehicle or plant travel (Medium Truck, Plant above 3.5t, Backhoe) | 45100
Downer | Downer - TFO (Wideband) | S13823 | LAFHA | Per day | 186.3 | LAFHA | 45100
Downer | Downer - TFO (Wideband) | S13828 | Heavy construction vehicle or plant travel (Large Truck, Vac Truck, Plant above 6t, large excavator) | Per km | 2.93 | Heavy construction vehicle or plant travel (Large Truck, Vac Truck, Plant above 6t, large excavator) | 45100
Downer | Downer - TFO (Wideband) | S13833 | Medium construction vehicle or plant travel (Medium Truck, Plant above 3.5t, Backhoe) | Per km | 2.03 | Medium construction vehicle or plant travel (Medium Truck, Plant above 3.5t, Backhoe) | 45100
Downer | Downer - TFO (Wideband) | S13822 | LAFHA | Per day | 186.3 | LAFHA | 45100
Downer | Downer - TFO (Wideband) | S13827 | Heavy construction vehicle or plant travel (Large Truck, Vac Truck, Plant above 6t, large excavator) | Per km | 2.93 | Heavy construction vehicle or plant travel (Large Truck, Vac Truck, Plant above 6t, large excavator) | 45100
Downer | Downer - TFO (Wideband) | S13832 | Medium construction vehicle or plant travel (Medium Truck, Plant above 3.5t, Backhoe) | Per km | 2.03 | Medium construction vehicle or plant travel (Medium Truck, Plant above 3.5t, Backhoe) | 45100
Downer | Downer - TFO (Wideband) | S13821 | LAFHA | Per day | 186.3 | LAFHA | 45100
Downer | Downer - TFO (Wideband) | S13826 | Heavy construction vehicle or plant travel (Large Truck, Vac Truck, Plant above 6t, large excavator) | Per km | 2.93 | Heavy construction vehicle or plant travel (Large Truck, Vac Truck, Plant above 6t, large excavator) | 45100
Downer | Downer - TFO (Wideband) | S13831 | Medium construction vehicle or plant travel (Medium Truck, Plant above 3.5t, Backhoe) | Per km | 2.03 | Medium construction vehicle or plant travel (Medium Truck, Plant above 3.5t, Backhoe) | 45100
Downer | Downer - TFO (Wideband) | S13824 | LAFHA | Per day | 186.3 | LAFHA | 45100
Downer | Downer - TFO (Wideband) | S13829 | Heavy construction vehicle or plant travel (Large Truck, Vac Truck, Plant above 6t, large excavator) | Per km | 2.93 | Heavy construction vehicle or plant travel (Large Truck, Vac Truck, Plant above 6t, large excavator) | 45100
Downer | Downer - TFO (Wideband) | S13834 | Medium construction vehicle or plant travel (Medium Truck, Plant above 3.5t, Backhoe) | Per km | 2.03 | Medium construction vehicle or plant travel (Medium Truck, Plant above 3.5t, Backhoe) | 45100