## Sheet1
Customer | Contract | Item Code | Item Name | Unit of Measure (UoM) | Rate
Lend Lease | Lend Lease - MWA | CB-01-01-01/01-01 | Install FDH cabinet on any surface other than rock including plinth | Per FDH Cabinet | 1494.5
Lend Lease | Lend Lease - MWA | CB-02-01-01/01-01 | Install external small Node cabinet on any surface other than rock including plinth & earthing. | Per external Node Cabinet | 2200
Lend Lease | Lend Lease - MWA | CB-02-01-01/02-01 | Equipment & fibre installation, testing and commissioning of small port Node Cabinet. | Per external Node Cabinet | 600
Lend Lease | Lend Lease - MWA | CB-02-01-02/01-01 | Install external medium Node cabinet on any surface other than rock including plinth & earthing. | Per external Node Cabinet | 3100
Lend Lease | Lend Lease - MWA | CB-02-01-02/02-01 | Equipment & fibre installation, testing and commissioning of medium port Node Cabinet. | Per external Node Cabinet | 950
Lend Lease | Lend Lease - MWA | CB-02-01-03/01-01 | Install external large Node cabinet on any surface other than rock including plinth & earthing. | Per external Node Cabinet | 3150
Lend Lease | Lend Lease - MWA | CB-02-01-03/02-01 | Equipment & fibre installation, testing and commissioning of large port Node Cabinet. | Per external Node Cabinet | 1010.5
Lend Lease | Lend Lease - MWA | CB-02-02-01/01-01 | Installation of service jumpering in a FTTN/FTTB Node Cabinet | Per 48 Port Line Card | 210
Lend Lease | Lend Lease - MWA | CB-02-02-02/01-01 | Cable layup within CJL for external small port CSD node | Per CJL | 105
Lend Lease | Lend Lease - MWA | CB-03-02-01/01-01 | Supply and install new service earth bar | Per service earth bar | 105
Lend Lease | Lend Lease - MWA | CB-03-02-02/01-01 | Supply and install new service earth stake | Per service earth stake | 97
Lend Lease | Lend Lease - MWA | CB-03-02-03/01-01 | Install a 10 pair MDF terminal block | Per 10 pair MDF terminal block | 35
Lend Lease | Lend Lease - MWA | CB-03-02-04/01-01 | Install a 100 pair MDF terminal frame | Per 100 pair MDF terminal frame | 70
Lend Lease | Lend Lease - MWA | CF-02-02-01/01-01 | Mobilisation Fee for Planning and Design Works Note: Subcontractor is only entitled to claim mobilisation for works where travel exceeds 100 k/m from their Local Depot. Substantiation for expenditure, or documented evidence of actual costs incurred shall be verified and approved by Lendlease prior to re-imbursement. MAXIMUM claim distance is capped at 1000 K/M and paid once per Work Order unless otherwise agreed) | Per Work Order | $1.00 PER K/M
Lend Lease | Lend Lease - MWA | CF-03-02-01/01-01 | Living Away from Home Allowance (LAFHA) Note: Subcontractor is entitled to claim LAFHA for works where travel exceeds 100 k/m from their local depot and the work crew is required to overnight to complete the works. Substantiation(Pre-Starts) must be provided for each night claimable | per day / per person | 160
Lend Lease | Lend Lease - MWA | CI-01-01-01/01-01 | Pipe Proving in existing duct | Per linear metre | 1.9
Lend Lease | Lend Lease - MWA | CI-01-02-01/01-01 | Pipe Proving in existing riser on a pole or in existing riser on the external face of a building | Per existing riser on a pole or existing riser on the external face of a building | 32
Lend Lease | Lend Lease - MWA | CI-02-01-01/01-01 | Installation of a cable sheath greater than 144 fibre in underground duct by any means | Per linear metre | 3.5
Lend Lease | Lend Lease - MWA | CI-02-01-02/01-01 | Installation of a cable sheath greater than 12 fibre and up to and including 144 fibre in underground duct by any means | Per linear metre | 2.5
Lend Lease | Lend Lease - MWA | CI-02-01-03/01-01 | Installation of 12 fibre cable sheath in underground duct by any means | Per linear metre | 2.4
Lend Lease | Lend Lease - MWA | CI-02-01-04/01-01 | Installation of single fibre cable sheath in underground duct by any means | Per linear metre | 2
Lend Lease | Lend Lease - MWA | CI-02-01-05/01-01 | Installation of a cable sheath in existing riser on a pole or in existing riser on the external face of a building | Per cable sheath | 65
Lend Lease | Lend Lease - MWA | CI-02-02-01/01-01 | Installation of copper cable of up to including 100 pair in underground duct | Per linear metre | 2.7
Lend Lease | Lend Lease - MWA | CI-02-02-02/01-01 | Installation of copper cable of greater than 100 pair in underground duct | Per linear metre | 4.7
Lend Lease | Lend Lease - MWA | CI-03-01-01/01-01 | Installation of cable sheath and all NBN Co infrastructure on timber poles in the communications corridor | Per Span | 435
Lend Lease | Lend Lease - MWA | CI-03-01-02/01-01 | Installation of cable sheath and all NBN Co infrastructure on stobie poles in the communications corridor | Per Span | 435
Lend Lease | Lend Lease - MWA | CI-03-01-03/01-01 | Installation of cable sheath and all NBN Co infrastructure on concrete or steel poles in the communications corridor | Per Span | 410
Lend Lease | Lend Lease - MWA | CI-03-01-04/01-01 | Installation of cable sheath and all NBN Co infrastructure on timber poles in the power corridor | Per Span | 480
Lend Lease | Lend Lease - MWA | CI-03-01-05/01-01 | Installation of cable sheath and all NBN Co infrastructure on stobie poles in the power corridor | Per Span | 480
Lend Lease | Lend Lease - MWA | CI-03-01-06/01-01 | Installation of cable sheath and all NBN Co infrastructure on concrete or steel poles in the power corridor | Per Span | 480
Lend Lease | Lend Lease - MWA | CI-03-02-01/01-01 | Installation of copper cable sheath and all NBN Co infrastructure on timber poles in the communications corridor up to 100 pair | Per Span | 260
Lend Lease | Lend Lease - MWA | CI-03-02-02/01-01 | Installation of copper cable sheath and all NBN Co infrastructure on stobie poles in the communications corridor up to 100 pair | Per Span | 260
Lend Lease | Lend Lease - MWA | CI-03-02-03/01-01 | Installation of copper cable sheath and all NBN Co infrastructure on concrete or steel poles in the communications corridor up to 100 pair | Per Span | 290
Lend Lease | Lend Lease - MWA | CI-03-02-04/01-01 | Installation of copper cable sheath and all NBN Co infrastructure on timber poles in the power corridor up to 100 pair | Per Span | 300
Lend Lease | Lend Lease - MWA | CI-03-02-05/01-01 | Installation of copper cable sheath and all NBN Co infrastructure on stobie poles in the power corridor up to 100 pair | Per Span | 300
Lend Lease | Lend Lease - MWA | CI-03-02-06/01-01 | Installation of copper cable sheath and all NBN Co infrastructure on concrete or steel poles in the power corridor up to 100 pair | Per Span | 295
Lend Lease | Lend Lease - MWA | CI-04-01-01/01-01 | Installation of cable sheath within a cable chamber or tunnel networks | Per linear metre | 4.6874
Lend Lease | Lend Lease - MWA | CI-04-01-01/01-02 | Installation of cable sheath within a cable chamber or tunnel networks outside working hours | Per linear metre | 7.7941
Lend Lease | Lend Lease - MWA | CI-04-01-02/01-01 | Installation of cable sheath via riser shaft/cable tray | Per linear metre | 4.9043
Lend Lease | Lend Lease - MWA | CI-04-01-02/01-02 | Installation of cable sheath via riser shaft/cable tray outside working hours | Per linear metre | 7.3597
Lend Lease | Lend Lease - MWA | CI-04-01-03/01-01 | Installation of cable sheath via ceiling space/floor cavity or crawl space | Per linear metre | 5.7798
Lend Lease | Lend Lease - MWA | CI-04-01-03/01-02 | Installation of cable sheath via ceiling space/floor cavity or crawl space outside working hours | Per linear metre | 8.6697
Lend Lease | Lend Lease - MWA | CI-04-01-04/01-01 | Installation of cable sheath via existing or new conduit | Per linear metre | 3.6818
Lend Lease | Lend Lease - MWA | CI-04-01-04/01-02 | Installation of cable sheath via existing or new conduit outside working hours | Per linear metre | 7.623
Lend Lease | Lend Lease - MWA | CI-04-02-01/01-01 | Extra over rate for supply and install AC power cable for FTTB Cabinet | Per linear metre | 10
Lend Lease | Lend Lease - MWA | CI-04-02-02/01-01 | Extra over rate for supply and install earth cable for FTTB Cabinet | Per linear metre | 12
Lend Lease | Lend Lease - MWA | CI-04-02-03/01-01 | Extra over rate for the installation of a copper cable sheaths from main distribution frame to FTTB Cabinet, via riser, shaft or cable tray | Per linear metre | 6
Lend Lease | Lend Lease - MWA | CI-04-02-04/01-01 | Extra over rate for the installation of copper cable sheaths via ceiling space, floor cavity or crawl space | Per linear metre | 7
Lend Lease | Lend Lease - MWA | CI-05-01-01/01-01 | Removal and disposal of cable in distribution aerial Network | Per Span | 175
Lend Lease | Lend Lease - MWA | CI-05-01-02/01-01 | Removal and disposal of cable in local aerial Network | Per Span | 175
Lend Lease | Lend Lease - MWA | CI-05-01-03/01-01 | Removal and disposal of catenary wire in aerial Network | Per Span | 150
Lend Lease | Lend Lease - MWA | CI-05-01-04/01-01 | Removal and disposal of cable in distribution underground Network | Per metre | 1.7
Lend Lease | Lend Lease - MWA | CI-05-01-05/01-01 | Removal and disposal of cable in local underground Network | Per metre | 1.2
Lend Lease | Lend Lease - MWA | CI-05-01-06/01-01 | Removal and disposal of cable in buildings | Per metre | 2.3
Lend Lease | Lend Lease - MWA | CI-05-01-10/01-01 | Removal and disposal of aerial lead in cables | Per lead in | 80
Lend Lease | Lend Lease - MWA | CI-05-01-11/01-01 | Relocation of aerial lead in cables | Per lead in | 210
Lend Lease | Lend Lease - MWA | CI-05-01-12/01-01 | Disconnect and re-connect of aerial lead in cables | Per lead in | 185
Lend Lease | Lend Lease - MWA | CI-05-01-15/01-01 | Removal and disposal of underground lead in cables | Per lead in | 20
Lend Lease | Lend Lease - MWA | CP-01-01-01/01-01 | Installation of a new 900 type CCU | Per new 900 type CCU | 710
Lend Lease | Lend Lease - MWA | CP-01-01-02/01-01 | Installation of a new 1800 type CCU | Per new 1800 type CCU | 750
Lend Lease | Lend Lease - MWA | CP-01-01-03/01-01 | Installation of 10 cable pair bundles between two copper cable insulation displacement modules (Connection Modules), including the termination of the bundle on each Connection Module | Per 10 cable pair bundle | 20
Lend Lease | Lend Lease - MWA | CP-01-01-04/01-01 | Cutting over existing services from an existing Connection Module to a new Connection Module | Per 10 cable pairs | 73
Lend Lease | Lend Lease - MWA | CP-01-02-01/01-01 | Upgrading of an existing CCU from 900 type to 1800 type | Per CCU required to be upgraded from 900 type to 1800 type | 175
Lend Lease | Lend Lease - MWA | CP-01-02-02/01-01 | Augmentation of an existing 900 type CCU (Pillar Expansion Option 1) | Per Expansion CCU | 625
Lend Lease | Lend Lease - MWA | CP-01-02-03/01-01 | Augmentation of an existing 900 type CCU (Pillar Expansion Option 2) - Copper Works | Per Expansion CCU | 1000
Lend Lease | Lend Lease - MWA | CP-01-02-03/02-01 | Augmentation of an existing 900 type CCU (Pillar Expansion Option 2) - Civil Works | Per Expansion CCU | 1000
Lend Lease | Lend Lease - MWA | CP-01-03-01/01-01 | Removal and disposal of an existing CCU | Per existing CCU | 200
Lend Lease | Lend Lease - MWA | CP-01-04-01/01-01 | Replacement of Pillar Lid Lock or Pillar Cap | Per existing CCU | 36.8177
Lend Lease | Lend Lease - MWA | CP-01-04-02/01-01 | Installation of 2-piece Pillar Base Repair Kit | Per existing CCU | 63.4602
Lend Lease | Lend Lease - MWA | CP-01-04-03/01-01 | Replace Cover Lightweight (1800 Type) | Per existing CCU | 34.8095
Lend Lease | Lend Lease - MWA | CP-01-04-04/01-01 | Replacement of copper cable insulation displacement connection module (Connection Module) and termination of cable | Per existing module | 47.6404
Lend Lease | Lend Lease - MWA | CP-02-01-01/01-01 | Installation of a new Distribution extra large copper joint | Per new Distribution extra large copper joint | 1100
Lend Lease | Lend Lease - MWA | CP-02-01-02/01-01 | Installation of a new Distribution large copper joint | Per new Distribution large copper joint | 420
Lend Lease | Lend Lease - MWA | CP-02-01-03/01-01 | Installation of a new Distribution small copper joint | Per new Distribution small copper joint | 315
Lend Lease | Lend Lease - MWA | CP-02-01-04/01-01 | Installation of a new Main Cable small copper joint | Per new Main Cable small copper joint | 785
Lend Lease | Lend Lease - MWA | CP-02-01-05/01-01 | Installation of a new Main Cable medium copper joint | Per new Main Cable medium Copper joint | 1260
Lend Lease | Lend Lease - MWA | CP-02-01-06/01-01 | Installation of a new Main Cable large copper joint enclosure | Per new Main Cable large Copper joint enclosure | 2340
Lend Lease | Lend Lease - MWA | CP-02-01-07/01-01 | Installation of a new Main Cable extra large copper joint enclosure | Per new Main Cable extra large Copper joint enclosure | 4000
Lend Lease | Lend Lease - MWA | CP-02-01-08/01-01 | Installation of a new aerial large copper joint | Per new Distribution large copper joint | 720
Lend Lease | Lend Lease - MWA | CP-02-01-09/01-01 | Installation of a new aerial small copper joint | Per new Distribution small copper joint | 490
Lend Lease | Lend Lease - MWA | CP-02-02-01/01-01 | Rehabilitate existing Distribution extra large or large openable copper joint | Per large openable copper joint | 245
Lend Lease | Lend Lease - MWA | CP-02-02-02/01-01 | Rehabilitate existing Distribution medium or small openable copper joint | Per small openable copper joint | 165
Lend Lease | Lend Lease - MWA | CP-02-02-03/01-01 | Replacement of existing Distribution in-line copper joint with a new in-line large copper joint | Per existing copper joint replaced | 490
Lend Lease | Lend Lease - MWA | CP-02-02-04/01-01 | Replacement of existing Distribution in-line copper joint with a new in-line small copper joint | Per existing copper joint replaced | 315
Lend Lease | Lend Lease - MWA | CP-02-02-05/01-01 | Cutting over existing services from an existing copper joint to a new large copper joint | Per existing copper joint replaced | 590
Lend Lease | Lend Lease - MWA | CP-02-02-06/01-01 | Cutting over existing services from an existing copper joint to a new small copper joint | Per existing copper joint replaced | 330
Lend Lease | Lend Lease - MWA | CP-02-02-07/01-01 | Rehabilitate existing aerial extra large or large copper joint | Per existing copper joint replaced | 480
Lend Lease | Lend Lease - MWA | CP-02-02-08/01-01 | Rehabilitate existing aerial medium or small copper joint | Per existing copper joint replaced | 390
Lend Lease | Lend Lease - MWA | CP-02-02-09/01-01 | Rehabilitate existing elevated copper joint | Per existing copper joint replaced | 250
Lend Lease | Lend Lease - MWA | CP-02-02-10/01-01 | Rehabilitate existing small Distribution in-line copper joint | Per small in-line copper joint | 400
Lend Lease | Lend Lease - MWA | CP-02-02-15/01-01 | Rehabilitate existing extra large or large Distribution in-line copper joint | Per existing copper joint | 425
Lend Lease | Lend Lease - MWA | CP-02-02-16/01-01 | Rehabilitate existing medium or small Distribution in-line copper joint | Per existing copper joint | 425
Lend Lease | Lend Lease - MWA | CP-02-02-20/01-01 | Joint a working cable pair into an existing joint up to and including a 10 pair cable | Per existing copper joint | 180
Lend Lease | Lend Lease - MWA | CP-02-02-21/01-01 | Joint a working cable pair into an existing joint above a 10 pair cable and up to and including a 50 pair cable | Per existing copper joint | 275
Lend Lease | Lend Lease - MWA | CP-02-02-22/01-01 | Joint a working cable pair into an existing joint above a 50 pair cable and up to and including a 100 pair cable | Per existing copper joint | 325
Lend Lease | Lend Lease - MWA | CP-02-02-23/01-01 | Joint a working cable pair into an existing joint above 100 pair cable | Per existing copper joint | 1850
Lend Lease | Lend Lease - MWA | CP-02-02-24/01-01 | Insert a 2 pair cable into an existing joint and joint to existing cable | Per 2 pair cable | 38
Lend Lease | Lend Lease - MWA | CP-02-02-25/01-01 | Insert a cable including a 10 pair and up to an including a 100 pair into an existing joint and joint to existing cable | Per Cable inserted | 430
Lend Lease | Lend Lease - MWA | CP-02-02-26/01-01 | Locate and rectify a fault in a copper pair | Per Copper Cable | 150
Lend Lease | Lend Lease - MWA | CP-02-03-01/01-01 | Removal of existing copper joint | Per existing copper joint | 40
Lend Lease | Lend Lease - MWA | CP-02-03-02/01-01 | Removal of existing aerial copper joint | Per existing copper joint | 80
Lend Lease | Lend Lease - MWA | CP-02-03-03/01-01 | Remove a existing elevated joint | Per existing copper joint | 70
Lend Lease | Lend Lease - MWA | CP-02-04-01/-01-01 | Joint sealing maintenance task (add Dexbond 10B Sealant) | Per existing copper joint | 40.6996
Lend Lease | Lend Lease - MWA | CP-02-04-02/-01-01 | Replace joint lid, clamp, or Support Bar (HSOJ or Dexgreen Joint) | Per existing copper joint | 15.6146
Lend Lease | Lend Lease - MWA | CP-02-04-03/-01-01 | Replace or install 2-5pr Snap Enclosure | Per existing copper joint | 21.1378
Lend Lease | Lend Lease - MWA | CP-02-04-04/-01-01 | Replace or install 10pr Snap Enclosure | Per existing copper joint | 45.7871
Lend Lease | Lend Lease - MWA | CP-02-04-05/-01-01 | Replace connectors in an openable joint | Per existing copper joint | 36.6297
Lend Lease | Lend Lease - MWA | CP-02-04-06/-01-01 | Replace Bandit Strap | Per existing copper joint | 24.7082
Lend Lease | Lend Lease - MWA | CP-03-01-01/01-01 | Removal of a pair gain system | Per pair gain system | 250
Lend Lease | Lend Lease - MWA | CP-03-01-02/01-01 | Migration of an existing service from a pair gain system to a dedicated copper circuit | Per existing service | 60
Lend Lease | Lend Lease - MWA | CP-03-01-03/01-01 | Single service active migration in a CSD including service jumpering in the pillar | Per service | 75
Lend Lease | Lend Lease - MWA | CP-03-01-04/01-01 | Removal of existing line conditioning equipment | Per existing line conditioning equipment | 155
Lend Lease | Lend Lease - MWA | CP-03-01-05/01-01 | Removal of an existing bridge tap | Per existing bridge tap | 120
Lend Lease | Lend Lease - MWA | CP-03-01-06/01-01 | Install earth bonding cable between cable sections | Per linear metre | 7.5
Lend Lease | Lend Lease - MWA | CP-03-01-10/01-01 | Multiple services pre-validation for migration at any location | Per existing service | 40
Lend Lease | Lend Lease - MWA | CP-05-01-01/01-01 | Installation of service jumpering in an Exchange | Per Service | 65
Lend Lease | Lend Lease - MWA | CP-05-01-02/01-01 | Existing service transfer jumpering in an MDF and termination end point | Per existing service | 70
Lend Lease | Lend Lease - MWA | CP-05-02-01/01-01 | Installation of service jumpering in a cross connect unit for the first service jumpered | Per Service | 12
Lend Lease | Lend Lease - MWA | CP-05-02-02/01-01 | Extra over service Jumpering in a cross connect unit | Per Service | 7.5
Lend Lease | Lend Lease - MWA | CW-01-01-01/01-01 | Supply & Install underground pipe (upto and including 63mm OD) by trenching in any location other than rock; inlcuding bedding and backfill. | Per linear metre | 38
Lend Lease | Lend Lease - MWA | CW-01-01-01/02-01 | Supply & Install u/g pipe (upto and including 63mm OD) by Non Distructive Digging (NDD) in any location other than rock; inlcuding bedding and backfill. | Per linear metre | 60
Lend Lease | Lend Lease - MWA | CW-01-01-01/02-01 | Supply & Install u/g pipe (upto and including 63mm OD) by boring in any location other than rock; inlcuding bedding and backfill. | Per linear metre | 65
Lend Lease | Lend Lease - MWA | CW-01-01-02/01-01 | Supply & Install underground pipe (more than 63mm OD) by trenching in any location other than rock; inlcuding bedding and backfill. | Per linear metre | 45
Lend Lease | Lend Lease - MWA | CW-01-01-02/02-01 | Supply & Install u/g pipe (more than 63mm OD) by NDD in any location other than rock; inlcuding bedding and backfill. | Per linear metre | 75
Lend Lease | Lend Lease - MWA | CW-01-01-02/03-01 | Supply & Install u/g pipe (more than 63mm OD) by boring in any location other than rock; inlcuding bedding and backfill. | Per linear metre | 78
Lend Lease | Lend Lease - MWA | CW-01-01-03/01-01 | Extra over for supply and install an additional underground pipe in an existing trench with an internal diameter of greater than 25mm | Per linear metre | 10
Lend Lease | Lend Lease - MWA | CW-01-01-04/01-01 | Extra over for supply and install an additional underground pipe by boring technique with an internal diameter of greater than 25mm | Per linear metre | 45
Lend Lease | Lend Lease - MWA | CW-01-01-05/01-01 | Supply and install riser on pole or building | Per riser | 130
Lend Lease | Lend Lease - MWA | CW-01-02-01/01-01 | Extra over rate for excavation of rock & disposal of spoil Carry out trenching activities in more than 1 linear metres of Rock | Per linear metre | 75
Lend Lease | Lend Lease - MWA | CW-01-02-01/02-01 | Extra over rate for excavation of rock by Boring & disposal of spoil Carry out boring activities in more than 1 linear metres of Rock | Per linear metre | 165
Lend Lease | Lend Lease - MWA | CW-02-01-01/01-01 | Supply and installation of small pits (P2) at any locations in other than Rock | Per pit | 220
Lend Lease | Lend Lease - MWA | CW-02-01-02/01-01 | Supply and installation of medium pits (P4 and P5) at any locations in other than Rock | Per pit | 417
Lend Lease | Lend Lease - MWA | CW-02-01-02/02-01 | Extra over rate for use of NDD technique to install medium pit (P4 and P5) in any location other than rock. | Per pit | 75
Lend Lease | Lend Lease - MWA | CW-02-01-03/01-01 | Supply and installation of large pits (P6 and P8) at any locations in other than Rock | Per pit | 914.79
Lend Lease | Lend Lease - MWA | CW-02-01-03/02-01 | Supply & Install large (P6 and P8) pit by NDD in any location other than rock. | Per pit | 150
Lend Lease | Lend Lease - MWA | CW-02-01-04/01-01 | Supply and installation of extra-large (P9) pits at any locations in other than Rock | Per pit | 1520
Lend Lease | Lend Lease - MWA | CW-02-01-04/02-01 | Extra over rate for use of NDD technique to install extra large pit (P9) in any location other than rock. | Per pit | 200
Lend Lease | Lend Lease - MWA | CW-02-01-05/01-01 | Supply & install pit riser (P4). | Each pit riser | 140
Lend Lease | Lend Lease - MWA | CW-02-01-05/02-01 | Supply & install pit riser (P5). | Each pit riser | 150
Lend Lease | Lend Lease - MWA | CW-02-01-05/03-01 | Supply & install pit riser (P6). | Each pit riser | 190
Lend Lease | Lend Lease - MWA | CW-02-01-05/04-01 | Supply & install pit riser (P8). | Each pit riser | 190
Lend Lease | Lend Lease - MWA | CW-02-01-05/05-01 | Supply & install pit riser (P9). | Each pit riser | 210
Lend Lease | Lend Lease - MWA | CW-02-01-06/01-01 | Supply & install pit lid (P4). | Each pit lids | 64
Lend Lease | Lend Lease - MWA | CW-02-01-06/02-01 | Supply & install pit lid (P5). | Each pit lids | 64
Lend Lease | Lend Lease - MWA | CW-02-01-06/03-01 | Supply & install pit lid (P6). | Each pit lids | 75
Lend Lease | Lend Lease - MWA | CW-02-01-06/04-01 | Supply & install pit lid (P8). | Each pit lids | 75
Lend Lease | Lend Lease - MWA | CW-02-01-06/05-01 | Supply & install pit lid (P9). | Each pit lids | 95
Lend Lease | Lend Lease - MWA | CW-02-01-08/01-01 | Supply and install composite pit lids | Each pit lids | 60
Lend Lease | Lend Lease - MWA | CW-02-02-01/01-01 | Extra over rate for the supply and installation of a pit in Rock | Per cubic metre | 130
Lend Lease | Lend Lease - MWA | CW-02-03-01/01-01 | Removal and disposal of small (P2) ACM Pit | Each ACM Pit | 450
Lend Lease | Lend Lease - MWA | CW-02-03-02/01-01 | Removal of medium ACM Pit (P4 or P5) and disposal off site; including safe temporary storage, handling and proof of disposal | Each ACM Pit | 540
Lend Lease | Lend Lease - MWA | CW-02-03-03/01-01 | Removal of large ACM Pit (P6 or P8) and disposal off site; including safe temporary storage, handling and proof of disposal. | Each ACM Pit | 710
Lend Lease | Lend Lease - MWA | CW-02-03-04/01-01 | Removal of extra large ACM Pit (P9) and disposal off site; including safe temporary storage, handling and proof of disposal | Each ACM Pit | 920
Lend Lease | Lend Lease - MWA | CW-02-04-01/01-01 | Remove and dispose of a single lid plastic pit | Each Pit | 320
Lend Lease | Lend Lease - MWA | CW-02-04-02/01-01 | Remove and dispose of a double lid plastic pit | Each Pit | 620
Lend Lease | Lend Lease - MWA | CW-03-01-01/01-01 | Core bore | Each core bore | 120
Lend Lease | Lend Lease - MWA | CW-05-01-01/01-01 | Identify & repair a damaged or block duct in any location other than rock. | Per blockage repaired | 333.4373
Lend Lease | Lend Lease - MWA | CW-05-01-02/01-01 | Clear pipe blockage using high pressure water | Per blockage cleared | 151.7507
Lend Lease | Lend Lease - MWA | CW-05-01-03/01-01 | Extra over for the repair of a secondary damaged or blocked duct in any surface | Per blockage repaired | 295.5717
Lend Lease | Lend Lease - MWA | CW-06-01-01/01-01 | Breakout concrete surface material | Per linear metre | 68
Lend Lease | Lend Lease - MWA | CW-06-01-02/01-01 | Breakout asphalt or bitumen | Per linear metre | 63
Lend Lease | Lend Lease - MWA | CW-06-01-03/01-01 | Breakout paving material in CBD areas | Per linear metre | 60
Lend Lease | Lend Lease - MWA | CW-06-01-04/01-01 | Breakout paving material in all areas other than CBD | Per linear metre | 50
Lend Lease | Lend Lease - MWA | CW-06-02-01/01-01 | Reinstate concrete surface material | Per linear metre | 122.3742
Lend Lease | Lend Lease - MWA | CW-06-02-02/01-01 | Reinstate asphalt or bitumen | Per linear metre | 80.1762
Lend Lease | Lend Lease - MWA | CW-06-02-03/01-01 | Reinstate paving material in CBD areas | Per linear metre | 75
Lend Lease | Lend Lease - MWA | CW-06-02-04/01-01 | Reinstate paving material in all areas other than CBD | Per linear metre | 65
Lend Lease | Lend Lease - MWA | EA-01-01-01/01-01 | Copper performance line testing | Per cable pair | 70
Lend Lease | Lend Lease - MWA | EA-01-01-02/01-01 | Line Testing Vacant Pairs | Per cable pair | 12.5
Lend Lease | Lend Lease - MWA | FB-01-01-01/01-01 | Installation and preparation of a new fibre joint enclosure greater than 144 fibres | Per fibre joint enclosure | 125
Lend Lease | Lend Lease - MWA | FB-01-01-02/01-01 | Installation and preparation of a new fibre joint enclosure greater than 12 fibres and up to and including 144 fibres | Per fibre joint enclosure | 121
Lend Lease | Lend Lease - MWA | FB-01-01-03/01-01 | Installation and preparation of a fibre joint enclosure up to and including 12 fibres | Per fibre joint enclosure | 120
Lend Lease | Lend Lease - MWA | FB-01-01-04/01-01 | Installation and preparation of Gator fibre joint enclosure | Per Gator fibre joint enclosure | 121
Lend Lease | Lend Lease - MWA | FB-01-02-01/01-01 | Prepare a fibre cable sheath greater than 144 fibres to be connected to fibre joint enclosures | Per cable sheath | 225
Lend Lease | Lend Lease - MWA | FB-01-02-02/01-01 | Prepare a fibre cable sheath greater 12 fibres and up to and including 144 fibres to be connected to fibre joint enclosures | Per cable sheath | 125
Lend Lease | Lend Lease - MWA | FB-01-02-03/01-01 | Prepare a 12 fibre cable to be connected to fibre joint enclosures | Per cable sheath | 60
Lend Lease | Lend Lease - MWA | FB-01-02-04/01-01 | Prepare Single fibre cable sheath to be connected to fibre joint enclosures | Per cable sheath | 45
Lend Lease | Lend Lease - MWA | FB-01-02-05/01-01 | Lay up of cable sheaths | Per cable sheath | 85
Lend Lease | Lend Lease - MWA | FB-01-02-06/01-01 | Prepare a loose tube fibre cable sheath greater than 144 fibres to be connected to fibre joint enclosures | Per cable sheath | 310
Lend Lease | Lend Lease - MWA | FB-01-02-07/01-01 | Prepare a loose tube fibre cable sheath greater 12 fibres and up to and including 144 fibres to be connected to fibre joint enclosures | Per cable sheath | 205
Lend Lease | Lend Lease - MWA | FB-01-02-08/01-01 | Prepare a loose tube 12 fibre cable to be connected to fibre joint enclosures | Per cable sheath | 95
Lend Lease | Lend Lease - MWA | FB-01-02-09/01-01 | Prepare a loose tube Single fibre cable sheath to be connected to fibre joint enclosures | Per cable sheath | 45
Lend Lease | Lend Lease - MWA | FB-01-03-01/01-01 | Re-entry into a fibre joint enclosure | Per fibre joint enclosure | 92
Lend Lease | Lend Lease - MWA | FB-01-04-01/-01-01 | Installation of splitter within existing FDH / PDH cabinet | Per splitter | 31.7888
Lend Lease | Lend Lease - MWA | FB-01-04-02/-01-01 | Installation of splitter within an existing BJL enclosure | Per splitter | 70.766
Lend Lease | Lend Lease - MWA | FB-01-04-03/-01-01 | Installation of splitter within an existing FJL enclosure | Per splitter | 69.647
Lend Lease | Lend Lease - MWA | FB-01-04-04/-01-01 | Installation of a splitter card output fibres to LFN ports within and existing FDH cabinet | Per Fibre | 31.7888
Lend Lease | Lend Lease - MWA | FB-01-04-05/-01-01 | Installation of a Fibre TV Splitter (TVS) within an FDH Cabinet | Per device | 29.2095
Lend Lease | Lend Lease - MWA | FB-01-04-06/-01-01 | Installation of a Fibre TV Splitter within a PDH enclosure | Per device | 31.9863
Lend Lease | Lend Lease - MWA | FB-02-01-01/01-01 | Installation of multiport or splitter multiport in underground pit or manhole | Per multiport | 30
Lend Lease | Lend Lease - MWA | FB-02-01-02/01-01 | Installation of multiport or splitter multiport on any pole | Per multiport | 120
Lend Lease | Lend Lease - MWA | FB-02-01-03/01-01 | Replacement or Upgrade of existing splitter multiport in underground pit or manhole | Per multiport | 60
Lend Lease | Lend Lease - MWA | FB-02-01-04/01-01 | Replacement or Upgrade of existing splitter multiport on any pole | Per multiport | 180
Lend Lease | Lend Lease - MWA | FB-03-01-01/01-01 | Splicing of optic fibre ribbons | Per Ribbon Splice | 20
Lend Lease | Lend Lease - MWA | FB-03-01-02/01-01 | Splicing of single fibre | Per Fibre Splice | 13
Lend Lease | Lend Lease - MWA | FB-03-01-03/01-01 | Splicing of loose tube fibre | Per Fibre Splice | 12.5
Lend Lease | Lend Lease - MWA | FB-03-01-04/01-01 | De ribbonise 12 fibre ribbon | Per ribbon | 9.5
Lend Lease | Lend Lease - MWA | FB-04-02-01/01-01 | Uni-directional OTDR Testing to the first fibre tested | Per fibre | 28
Lend Lease | Lend Lease - MWA | FB-04-02-02/01-01 | Extra over for additional Uni-directional OTDR Testing | Per fibre | 20
Lend Lease | Lend Lease - MWA | FB-04-02-03/01-01 | Point to point DFL OTDR test to the first fibre tested | Per fibre | 26
Lend Lease | Lend Lease - MWA | FB-04-02-04/01-01 | Extra over for additional Point to point DFL OTDR test | Per fibre | 14
Lend Lease | Lend Lease - MWA | FB-04-02-05/01-01 | Insertion loss testing to the first fibre tested | Per fibre | 22
Lend Lease | Lend Lease - MWA | FB-04-02-06/01-01 | Extra over for additional Insertion loss testing | Per fibre | 22.5
Lend Lease | Lend Lease - MWA | FB-04-02-07/01-01 | Extra over rate for LFN / MTLFN insertion loss testing to the PCD | Per fibre | 14
Lend Lease | Lend Lease - MWA | FB-04-02-08/01-01 | PON Power Meter Test | Per fibre | 10
Lend Lease | Lend Lease - MWA | FB-04-02-09/01-01 | End to end connectivity testing to the GPON NTD at customer premises | Per fibre | 28
Lend Lease | Lend Lease - MWA | FB-04-02-10/01-01 | End to end connectivity testing to SASK NTD at customer premises | Per fibre | 28
Lend Lease | Lend Lease - MWA | FB-05-02-01/01-01 | Installation of a 12/24 way fibre patch panel within a customer premise environment | Per patch panel | 90
Lend Lease | Lend Lease - MWA | FB-05-02-04/01-01 | Installation of a 24 way HDODF patch panel within a HDODF or equivalent environment | Per patch panel | 115
Lend Lease | Lend Lease - MWA | FB-05-02-05/01-01 | Installation of a 72 way HDODF patch panel within a HDODF or equivalent environment | Per patch panel | 150
Lend Lease | Lend Lease - MWA | FB-05-02-06/01-01 | Installation of a 144 way HDODF patch panel within a HDODF or equivalent environment | Per patch panel | 320
Lend Lease | Lend Lease - MWA | FB-05-03-01/01-01 | Prepare and splice of a 12 fibre sheath within a customer premises environment | Per cable sheath | 115
Lend Lease | Lend Lease - MWA | FB-05-03-02/01-01 | Prepare and splice of a single fibre in a PIC cable | Per Fibre | 30
Lend Lease | Lend Lease - MWA | FB-05-03-03/01-01 | Supply and install patching cable within a HDODF or equivalent environment | Per patching cable | 35
Lend Lease | Lend Lease - MWA | FB-05-03-06/01-01 | Prepare and splice a fibre cable sheath greater than 144 fibres to be connected within a HDODF environment | Per cable sheath | 420
Lend Lease | Lend Lease - MWA | FB-05-03-07/01-01 | Prepare and splice a fibre cable sheath greater 12 fibres and up to and including 144 fibres to be connected within a HDODF environment | Per cable sheath | 210
Lend Lease | Lend Lease - MWA | FB-05-03-08/01-01 | Installation of an inline optical attenuator in conjunction with HDODF patching works | Per optical attenuator | 45
Lend Lease | Lend Lease - MWA | FB-05-03-09/01-01 | Installation of an inline optical attenuator within the HDODF cabinet or equivalent rack environments as part of line balancing works for an FTTC DPU | Per optical attenuator | 90
Lend Lease | Lend Lease - MWA | FC-01-01-03/01-01 | Installation and commissioning of a wall mounted DPU terminal device | Per DPU | 75
Lend Lease | Lend Lease - MWA | FC-01-01-10/01-01 | Installation and commissioning of an aerial DPU terminal device | Per DPU | 130
Lend Lease | Lend Lease - MWA | FC-01-01-11/01-01 | Installation and commissioning of a non-aerial DPU terminal device | Per DPU | 70
Lend Lease | Lend Lease - MWA | FC-01-01-12/01-01 | Removal of existing DPU | Per DPU | 85
Lend Lease | Lend Lease - MWA | FC-02-01-05/01-01 | Supply and installation of a DPU copper lead extension from DPU copper lead to a new or existing aerial mounted openable joint enclosure or to an existing aerial mounted terminal box joint enclosure | Per DPU copper lead extension | 125
Lend Lease | Lend Lease - MWA | FC-02-01-06/01-01 | Supply and installation of DPU copper lead extension from DPU copper lead to a new or existing non-aerial mounted openable joint enclosure | Per DPU copper lead extension | 95
Lend Lease | Lend Lease - MWA | FC-02-01-07/01-01 | Supply and installation of a DPU copper lead extension from DPU copper lead to a non-aerial copper interconnect unit | Per DPU copper lead extension | 92
Lend Lease | Lend Lease - MWA | FC-02-01-12/01-01 | Installation of a DPU 2 pair high twist copper lead extension from DPU copper lead to a new or existing aerial mounted openable joint enclosure or to an existing aerial mounted terminal box joint enclosure | Per DPU copper lead high twist extension | 115
Lend Lease | Lend Lease - MWA | FC-02-01-13/01-01 | Installation of a DPU 2 pair high twist copper lead extension from DPU copper lead to a new or existing non-aerial mounted openable joint enclosure | Per DPU copper lead high twist extension | 16
Lend Lease | Lend Lease - MWA | FC-02-02-01/01-01 | Jointing of an aerial copper drop sheath to aerial DPU copper lead in a new or existing openable joint enclosure | Per aerial DPU copper lead jointed | 100
Lend Lease | Lend Lease - MWA | FC-02-02-02/01-01 | Installation of a DPU 2 pair high twist copper lead extension from DPU copper lead to a new or existing aerial mounted openable joint enclosure | Per DPU copper lead high twist extension | 140
Lend Lease | Lend Lease - MWA | FC-02-02-03/01-01 | Removal of an existing terminal box joint enclosure or existing openable joint and installation of a new replacement openable joint enclosure | Per replaced enclosure | 220
Lend Lease | Lend Lease - MWA | FC-02-02-04/01-01 | Installation of a copper tie cable for interconnection between two new or existing openable joint enclosures or terminal box joint enclosures | Per copper tie cable | 215
Lend Lease | Lend Lease - MWA | FC-02-03-01/01-01 | Installation of a new non-aerial openable joint enclosure | Per new non-aerial openable joint enclosure | 155
Lend Lease | Lend Lease - MWA | FC-02-03-02/01-01 | Jointing of copper drop sheath to DPU copper lead using a copper interconnect unit | Per DPU copper lead jointed | 28
Lend Lease | Lend Lease - MWA | FC-02-03-03/01-01 | Jointing of copper drop sheath to DPU copper lead in a new or existing openable joint enclosure | Per DPU copper lead jointed | 40
Lend Lease | Lend Lease - MWA | FC-02-03-04/01-01 | Installation of a DPU 2 pair high twist copper lead extension from DPU copper lead to a non-aerial copper interconnect unit | Per DPU copper lead high twist extension | 120
Lend Lease | Lend Lease - MWA | FC-02-03-05/01-01 | Installation of a DPU 2 pair high twist copper lead extension from DPU copper lead to a new or existing non-aerial openable joint enclosure | Per DPU copper lead high twist extension | 130
Lend Lease | Lend Lease - MWA | FC-02-03-06/01-01 | Extra over for the Installation of a 2 pair copper cut-in loop to existing lead sheath copper lead-in | Per 2pair loop | 90
Lend Lease | Lend Lease - MWA | FC-03-01-01/01-01 | Existing copper drop sheath validation | Per existing copper drop sheath validated | 25
Lend Lease | Lend Lease - MWA | FC-03-01-01/02-01 | Design - Validation of the Premise | Per existing copper drop sheath validated | 35
Lend Lease | Lend Lease - MWA | FC-03-01-02/01-01 | Existing Copper drop sheath validation for Serviceability for Missed Lead-ins | Per existing copper drop sheath validated | 35
Lend Lease | Lend Lease - MWA | MD-01-01-01/01-01 | Supply & Installation of catenary wire system in buildings | Per linear metre | 8.7024
Lend Lease | Lend Lease - MWA | MD-01-01-01/01-02 | Supply & Installation of catenary wire system in buildings outside working hours | Per linear metre | 19.5183
Lend Lease | Lend Lease - MWA | MD-01-01-02/01-01 | Supply & Installation of cable tray in buildings | Per linear metre | 30.459
Lend Lease | Lend Lease - MWA | MD-01-01-02/01-02 | Supply & Installation of cable tray in buildings outside working hours | Per linear metre | 51.6037
Lend Lease | Lend Lease - MWA | MD-01-01-03/01-01 | Supply and installation of ducting <30mm width | Per linear metre | 17.288
Lend Lease | Lend Lease - MWA | MD-01-01-03/01-02 | Supply and installation of ducting <30mm width outside working hours | Per linear metre | 24.9031
Lend Lease | Lend Lease - MWA | MD-01-01-04/01-01 | Supply and installation of ducting >30mm width | Per linear metre | 27.9876
Lend Lease | Lend Lease - MWA | MD-01-01-04/01-02 | Supply and installation of ducting >30mm width outside working hours | Per linear metre | 40.3136
Lend Lease | Lend Lease - MWA | MD-01-01-05/01-01 | Supply and installation of conduit | Per linear metre | 12.0658
Lend Lease | Lend Lease - MWA | MD-01-01-05/01-02 | Supply and installation of conduit outside working hours | Per linear metre | 15.6896
Lend Lease | Lend Lease - MWA | MD-01-01-06/01-01 | Installation of One Pass Fibre Pathway in buildings | Per linear metre | 11.0263
Lend Lease | Lend Lease - MWA | MD-01-01-06/01-02 | Installation of One Pass Fibre Pathway in buildings outside working hours | Per linear metre | 18.6854
Lend Lease | Lend Lease - MWA | MD-01-01-07/01-01 | Connecting One Pass Fibre Pathway to ICD or PCD | Each ICD or PCD | 33.5859
Lend Lease | Lend Lease - MWA | MD-01-01-07/01-02 | Connecting One Pass Fibre Pathway to ICD or PCD outside working hours | Each ICD or PCD | 53.3477
Lend Lease | Lend Lease - MWA | MD-01-07-01/01-01 | Installation of Fibre Collector Distributor (FCD) or Fibre Distribution Terminal (FDT) or Cable Transition Location (CTL) within buildings | Each FCD, FDT or CTL | 77.7269
Lend Lease | Lend Lease - MWA | MD-01-07-01/01-02 | Installation of Fibre Collector Distributor (FCD) or Fibre Distribution Terminal (FDT) or Cable Transition Location (CTL) within buildings outside working hours | Each FCD, FDT or CTL | 120.9277
Lend Lease | Lend Lease - MWA | MD-01-07-02/01-01 | Installation of Premises Distribution Hub (PDH) | Each PDH | 164.1048
Lend Lease | Lend Lease - MWA | MD-01-07-02/01-02 | Installation of Premises Distribution Hub (PDH) outside working hours | Each PDH | 192.0097
Lend Lease | Lend Lease - MWA | MD-01-07-03/01-01 | Installation of Internal Connection Device (ICD) or Premises Connection Device (PCD) | Each ICD or PCD | 27.0623
Lend Lease | Lend Lease - MWA | MD-01-07-03/01-02 | Installation of Internal Connection Device (ICD) or Premises Connection Device (PCD) outside working hours | Each ICD or PCD | 38.6876
Lend Lease | Lend Lease - MWA | MD-01-07-04/01-01 | Installation of a fibre wall outlet | Per outlet | 16.523
Lend Lease | Lend Lease - MWA | MD-01-07-04/01-02 | Installation of a fibre wall outlet outside working hours | Per outlet | 19.3208
Lend Lease | Lend Lease - MWA | MD-01-07-06/01-01 | Installation of apartment amplifier in buildings | Per amplifier | 72.4004
Lend Lease | Lend Lease - MWA | MD-01-07-07/01-01 | Installation of MDU security enclosure | Per MDU security enclosure | 55.8066
Lend Lease | Lend Lease - MWA | MD-01-07-08/01-01 | Installation of tap in buildings | Per tap | 74.3709
Lend Lease | Lend Lease - MWA | MD-01-07-09/01-01 | Installation of directional coupler or splitter in buildings | Per directional coupler or splitter | 67.1841
Lend Lease | Lend Lease - MWA | MD-01-07-10/01-01 | Extra over rate for the Installation of an isolator in buildings | Per Isolator | 18.4075
Lend Lease | Lend Lease - MWA | MD-01-07-11/01-01 | Replacement of tap in buildings | Per Tap | 44.6875
Lend Lease | Lend Lease - MWA | MD-01-07-12/01-01 | Replacement of tap faceplate in buildings | Per face plate | 30.2155
Lend Lease | Lend Lease - MWA | MD-01-07-13/01-01 | Removal of tap, isolator, directional coupler or splitter in buildings only | Per device | 39.0615
Lend Lease | Lend Lease - MWA | MD-01-07-14/01-01 | Removal of an apartment amplifier in buildings | per device | 46.8738
Lend Lease | Lend Lease - MWA | MD-01-07-15/01-01 | Installation of Building Fibre Distributor (BUDI) | Each BFD | 287.0008
Lend Lease | Lend Lease - MWA | MD-01-07-15/01-02 | Installation of Building Fibre Distributor (BUDI) outside working hours | Each BFD | 373.0983
Lend Lease | Lend Lease - MWA | MD-01-07-16/01-01 | Installation of Splitter Distribution Terminal (SDT) | Each SDT | 157.1335
Lend Lease | Lend Lease - MWA | MD-01-07-16/01-02 | Installation of Splitter Distribution Terminal (SDT) outside working hours | Each SDT | 204.2736
Lend Lease | Lend Lease - MWA | MD-01-07-17/01-01 | Installation of additional NG4 tray | per device | 33.85
Lend Lease | Lend Lease - MWA | MD-01-07-18/01-01 | Installation of additional OCM-6 module | per device | 30.301
Lend Lease | Lend Lease - MWA | MD-01-07-19/01-01 | Installation of additional PCD splice tray | per device | 25.9761
Lend Lease | Lend Lease - MWA | MD-02-01-01/01-01 | Installation of a single service drop sheath (SDS) on a single span to a multi dwelling unit | Per aerial service drop | 160
Lend Lease | Lend Lease - MWA | MD-02-01-02/01-01 | Extra over rate for additional spans for an aerial service drop to a multi dwelling unit | Each additional Span | 90
Lend Lease | Lend Lease - MWA | MD-02-01-03/01-01 | Extra over rate for supply and installation of an raiser pole on a building. | Each raiser pole installed | 60
Lend Lease | Lend Lease - MWA | MD-02-01-04/01-01 | Installation of service drop sheath underground to a multi dwelling unit | Per service drop | 95
Lend Lease | Lend Lease - MWA | MD-02-01-05/01-01 | Installation of direct service drop sheath underground to a multi dwelling unit | Per direct service drop | 240
Lend Lease | Lend Lease - MWA | MD-02-01-10/01-01 | Extend a developer supplied MDU lead-in starter pipe to the nominated network pit | Per Starter Pipe | 250
Lend Lease | Lend Lease - MWA | MD-02-02-01/01-01 | Replace existing copper aerial lead-in with new copper aerial lead-in to a multi dwelling unit | Per existing copper aerial lead-in replaced. Per Span | 200
Lend Lease | Lend Lease - MWA | MD-02-02-02/01-01 | Installation of aerial copper service drop to a multi dwelling unit | Per aerial copper service drop | 200
Lend Lease | Lend Lease - MWA | MD-02-02-03/01-01 | Installation of non-aerial copper service drop to a multi dwelling unit | Per non-aerial copper service drop | 100
Lend Lease | Lend Lease - MWA | MD-03-01-01/-01-01 | FTTP MDU In-building Cabling (1-10 Premises) | Per EUP | 256.2547
Lend Lease | Lend Lease - MWA | MD-03-01-02/-01-01 | FTTP MDU In-building Cabling (11- 30 Premises) | Per EUP | 256.2547
Lend Lease | Lend Lease - MWA | MD-03-01-03/-01-01 | FTTP MDU In-building Cabling (31- 60 Premises) | Per EUP | 255.8097
Lend Lease | Lend Lease - MWA | MD-03-01-04/-01-01 | FTTP MDU In-building Cabling (61- 100 Premises) | Per EUP | 249.8497
Lend Lease | Lend Lease - MWA | MD-03-01-05/-01-01 | FTTP MDU In-building Cabling (101- 150 Premises) | Per EUP | 243.4448
Lend Lease | Lend Lease - MWA | MD-03-01-06/-01-01 | FTTP MDU In-building Cabling (151- 200 Premises) | Per EUP | 223.0895
Lend Lease | Lend Lease - MWA | MD-03-01-07/-01-01 | FTTP MDU In-building Cabling (200+ Premises) | Per EUP | 219.6498
Lend Lease | Lend Lease - MWA | MD-03-03-01/-01-01 | FTTP HMDU In-building Cabling (1-10 Premises) | Per EUP | 126.594
Lend Lease | Lend Lease - MWA | MD-03-03-02/-01-01 | FTTP HMDU In-building Cabling (11- 30 Premises) | Per EUP | 122.3742
Lend Lease | Lend Lease - MWA | MD-03-03-03/-01-01 | FTTP HMDU In-building Cabling (31- 60 Premises) | Per EUP | 118.1544
Lend Lease | Lend Lease - MWA | MD-03-03-04/-01-01 | FTTP HMDU In-building Cabling (61- 100 Premises) | Per EUP | 113.9346
Lend Lease | Lend Lease - MWA | MD-03-03-05/-01-01 | FTTP HMDU In-building Cabling (101- 150 Premises) | Per EUP | 109.7148
Lend Lease | Lend Lease - MWA | MD-03-03-06/-01-01 | FTTP HMDU In-building Cabling (151- 200 Premises) | Per EUP | 105.495
Lend Lease | Lend Lease - MWA | MD-03-03-07/-01-01 | FTTP HMDU In-building Cabling (200+ Premises) | Per EUP | 101.2752
Lend Lease | Lend Lease - MWA | PS-01-01-01/01-01 | Telecommunications service provider fees | Amount of the fee | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-02/01-01 | Pole make ready works | Cost of pole make ready works | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-03/01-01 | Supply and install standard GPO as per design | Cost of GPO installation | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-04/01-01 | Certification and professional services fees associated with activities not otherwise specified in Activity Scope | Amount of the fee | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-05/01-01 | Registered Surveyor Works | Amount of the fee | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-06/01-01 | Contaminated Waste Material Removal | Amount of the fee | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-07/01-01 | Traffic Control - All costs associated with the hire of professional traffic control units | Amount of the fee | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-08/01-01 | Local Authority Charges | Amount of the fee | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-09/01-01 | Council breakout and reinstatement | Amount of the fee | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-10/01-01 | Construction works in building not contained within the Activity Scope | Cost of the works and fees | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-11/01-01 | Aerial pole replacement | Amount of the fee | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-12/01-01 | Third party aerial design management fees | Amount of the fee | N/A
Lend Lease | Lend Lease - MWA | PS-01-01-13/01-01 | Supply and install electricity connection as per design | Amount of the fee | QUOTE
Lend Lease | Lend Lease - MWA | SD-01-01-01/01-01 | Extra over rate for the supply and install of new lead-in pipe, minimum charge 6 metres route length, by any means | Per linear metre | 30
Lend Lease | Lend Lease - MWA | SD-01-01-02/01-01 | Extra over rate for supply and installation of an raiser pole on a building. | Per raiser pole | 70
Lend Lease | Lend Lease - MWA | SD-01-01-03/01-01 | Supply and install of Y connectors | Per Y connector | 105
Lend Lease | Lend Lease - MWA | SD-01-01-04/01-01 | Supply and install new lead-in starter pipe | Per Starter Pipe | 80
Lend Lease | Lend Lease - MWA | SD-01-01-05/01-01 | Extra over rate for the supply and install of new lead-in starter pipe greater than 2 meters in length | Per linear metre | 40
Lend Lease | Lend Lease - MWA | SD-01-02-01/01-01 | Extra over rate to repair lead-in conduit | Per repaired lead-in conduit | 55
Lend Lease | Lend Lease - MWA | SD-02-01-01/01-01 | Installation of a single service drop sheath on a single span to a single dwelling unit | Per aerial service drop | 160
Lend Lease | Lend Lease - MWA | SD-02-01-02/01-01 | Extra over rate for additional spans for an aerial service drop to a single dwelling unit | Each additional Span | 95
Lend Lease | Lend Lease - MWA | SD-02-01-03/01-01 | Installation of service drop sheath underground to a single dwelling unit | Per service drop | 140
Lend Lease | Lend Lease - MWA | SD-02-01-04/01-01 | Installation of direct service drop sheath underground to a single dwelling unit | Per direct service drop | 250
Lend Lease | Lend Lease - MWA | SD-02-02-01/01-01 | Replace existing copper aerial lead-in with new copper aerial lead-in to a single dwelling unit | Per existing copper aerial lead-in replaced. Per Span | 190
Lend Lease | Lend Lease - MWA | SD-02-02-02/01-01 | Installation of aerial copper service drop to a single dwelling unit | Per aerial copper service drop | 165
Lend Lease | Lend Lease - MWA | SD-02-02-03/01-01 | Installation of non-aerial copper service drop to a single dwelling unit | Per non-aerial copper service drop | 130
Lend Lease | Lend Lease - MWA | SD-02-02-04/01-01 | Extra over rate for installation of a new copper drop cable in-span to a single dwelling unit | Per in-span Drop | 120
Lend Lease | Lend Lease - MWA | TB-01-01-01/01-01 | Electrician (inclusive plant and equipment) | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-01/01-02 | Electrician (inclusive plant and equipment) – outside working hours | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-02/01-01 | Fibre Technician (inclusive plant and equipment) | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-02/01-02 | Fibre Technician (inclusive plant and equipment) – outside working hours | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-03/01-01 | Labourer | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-03/01-02 | Labourer - outside working hours | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-04/01-01 | Plant Operator | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-04/01-02 | Plant Operator – outside working hours | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-05/01-01 | Advanced pole inspector (inclusive plant and equipment) | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-05/01-02 | Advanced pole inspector (inclusive plant and equipment) - outside working hours | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-06/01-01 | Telecommunication Technician (inclusive plant and equipment) | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-06/01-02 | Telecommunication Technician (inclusive plant and equipment) - outside working hours | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-07/01-01 | Designer | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-07/01-02 | Designer - outside working hours | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-08/01-01 | Copper Technician (inclusive plant and equipment) | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-01-01-08/01-02 | Copper Technician (inclusive plant and equipment) – outside working hours | Per hour | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-01/01-01 | Provision of float charges for the movement of large plant and equipment between work sites | Per km | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-02/01-01 | Single-axle tipper truck 5 tonne load | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-03/01-01 | EWP truck mounted up to 12m | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-04/01-01 | Fully equipped vehicle for electrical technician | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-05/01-01 | Fully equipped vehicle for fibre technician | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-06/01-01 | Bobcat with 4-in-1 bucket | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-07/01-01 | Backhoe, JCB3CX or equivalent | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-08/01-01 | Excavators up to 10 tonnes | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-09/01-01 | Excavators 10 to 15 tonnes | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-10/01-01 | Excavators up to 10 tonnes fitted with rock breaker | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-11/01-01 | Double-axle tipper truck 9 tonne load | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-12/01-01 | Dozer (306 - 400 kw) | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-13/01-01 | Scissor Lift | Per Day | N/A
Lend Lease | Lend Lease - MWA | TB-02-02-14/01-01 | Vac Truck Hourly Rate | Per Hr | N/A